# Bulk Earthworks and Site Cut-Fill Inspection and Test Plan Template

Reusable baseline for clearing/stripping interfaces, bulk excavation, site-won cut/fill movements, formation preparation and bulk closeout. Selected engineered fill placement/conditioning/compaction/testing is covered by the separate Selected Engineered Fill package. Excludes structural excavations, deep foundations, contaminated-land remediation, blasting, ground improvement, trench utility backfill and pavement-specific acceptance unless expressly included.

| Project | [Enter project / state / parties] |
| --- | --- |
| Package | bulk-earthworks |
| Document / revision | [Enter controlled number and revision] |
| Issue purpose | For review - proposed editable baseline |
| Boundary | Complete against project documents; remove out-of-scope activities. |

# Read before use

This is a reusable proposed baseline, not an approved project plan or completed inspection record.

Enter actual acceptance criteria, source revisions/locators, lot basis, frequency, roles and contractual control points from the project. No numeric limit, test result, qualification, signature or client release has been supplied.

Confirm scope and remove or mark conditional rows that do not apply. Resolve missing or conflicting decisions with the assigned project authority.

Complete the matching blank Record Prompts only when actual work occurs; retain source certificates and original specialist reports.

# Project inputs to resolve

Project jurisdiction / authority context: [Enter project source / decision] State or territory and any authority or contract scope that governs the work.

Approved civil / services drawings and revisions: [Enter project source / decision] Identify controlled plans, sections, set-out details, levels and applicable drawing items.

Project earthworks specification and adopted standards: [Enter project source / decision] Identify contract clauses, adopted editions, annexures and precedence.

Geotechnical design basis and disposition roles: [Enter project source / decision] Identify the report, design zones and who provides any specified founding or changed-ground disposition.

Material source, classification and use schedule: [Enter project source / decision] Identify approved source, permitted use and project material criteria; do not infer a class.

Project testing, lotting and reporting plan: [Enter project source / decision] Enter nominated methods, test locations, lot definition, rate, acceptance and laboratory role.

Survey control, geometry and closeout requirements: [Enter project source / decision] Identify control, design geometry, tolerances, as-built format and responsible survey role.

Service clearance and permit process: [Enter project source / decision] Identify current service information, locating, protection and permit requirements.

Service and work-package interfaces: [Enter project source / decision] Identify exact trench, building, pavement or service boundaries and owner handover/testing responsibilities.

Performing, reviewing and contractual release roles: [Enter project source / decision] Identify assigned roles, notice period, evidence, and contractual Hold/Witness or release conditions.

Project records and handover requirements: [Enter project source / decision] Identify required registers, reports, photos, dispositions and handover submission.

# Inspection and Test Plan

Proposed baseline. Replace prompts with controlled project criteria and references before project review.

## BEW-01 · Scope, design basis and work-front release

| Inspection / test | Confirm the defined bulk cut/fill limits, interfaces, material destinations, geotechnical basis and document revisions before disturbing ground. |
| --- | --- |
| Method | Review contract scope, drawing register, geotechnical report, earthworks method, service/permit information and material-use plan; record unresolved conflicts for assigned decision. |
| Acceptance condition | Work limits and governing inputs are identifiable by revision; every material stream has a nominated destination/use or a recorded hold for project disposition. [Enter Approved civil / services drawings and revisions] [Enter Geotechnical design basis and disposition roles] [Enter Material source, classification and use schedule] [Enter Project earthworks specification and adopted standards] |
| Reference / locator | Topic guidance only; see Source Register. Enter the actual project document, revision and locator. |
| Trigger / frequency | Before mobilisation and when controlled scope or design documents change. |
| Responsibility | Proposed: assigned earthworks supervisor / quality role performs and records; project-assigned reviewer acts only within documented authority. Confirm project roles: [Enter Performing, reviewing and contractual release roles]. |
| Point / external party | TBC; Proposed: [Enter project-assigned reviewing / release authority] |
| Notice / release | Proposed: Confirm project notice recipient, evidence, timing and release authority; no external control point is assigned. |
| Record | Bulk earthworks readiness register |
| Applicability / remarks | Include only for work shown in this package scope. Proposed baseline. Confirm applicability and replace with controlled project requirement. |

## BEW-02 · Survey control and bulk set-out

| Inspection / test | Check control marks and set-out for clearing, stripping, cut limits, fill extents and interfaces. |
| --- | --- |
| Method | Compare surveyor’s set-out record and visible marks with approved plans and project survey control; note datum and drawing items. |
| Acceptance condition | Set-out is traceable to approved coordinates/levels and current control; discrepancies or disturbed control are resolved before affected work. [Enter Survey control, geometry and closeout requirements] |
| Reference / locator | Topic guidance only; see Source Register. Enter the actual project document, revision and locator. |
| Trigger / frequency | Before each new work zone and after disturbance or design change. |
| Responsibility | Proposed: assigned earthworks supervisor / quality role performs and records; project-assigned reviewer acts only within documented authority. Confirm project roles: [Enter Performing, reviewing and contractual release roles]. |
| Point / external party | TBC; Proposed: [Enter project-assigned reviewing / release authority] |
| Notice / release | Proposed: Confirm project notice recipient, evidence, timing and release authority; no external control point is assigned. |
| Record | Bulk set-out check |
| Applicability / remarks | Include only for work shown in this package scope. Proposed baseline. Confirm applicability and replace with controlled project requirement. |

## BEW-03 · Clearance, stripping and topsoil segregation

| Inspection / test | Verify required clearances and confirm stripping limits and segregation of material intended for reuse. |
| --- | --- |
| Method | Review permits and service marks; observe clearing limits and compare stripped material handling with the project environmental and reuse plan. |
| Acceptance condition | Clearance is current for the work front; disturbance stays within approved limits; reusable topsoil and other materials are identified and kept separate as specified. [Enter Service clearance and permit process] [Enter Material source, classification and use schedule] [Enter Project earthworks specification and adopted standards] |
| Reference / locator | Topic guidance only; see Source Register. Enter the actual project document, revision and locator. |
| Trigger / frequency | Before ground penetration; inspect each stripping area before bulk excavation or stockpiling. |
| Responsibility | Proposed: assigned earthworks supervisor / quality role performs and records; project-assigned reviewer acts only within documented authority. Confirm project roles: [Enter Performing, reviewing and contractual release roles]. |
| Point / external party | TBC; Proposed: [Enter project-assigned reviewing / release authority] |
| Notice / release | Proposed: Confirm project notice recipient, evidence, timing and release authority; no external control point is assigned. |
| Record | Clearance and stripping record |
| Applicability / remarks | Include only for work shown in this package scope. Proposed baseline. Confirm applicability and replace with controlled project requirement. |

## BEW-04 · Bulk excavation and cut to design formation

| Inspection / test | Check cut limits, exposed conditions, water management and progressive excavation geometry. |
| --- | --- |
| Method | Observe excavation against drawings and approved method; record changed ground, unexpected services, water or instability for the assigned project disposition. |
| Acceptance condition | Excavation stays within the approved footprint and documented geometry; unexpected conditions and departures receive written disposition before covering or building on them. [Enter Approved civil / services drawings and revisions] [Enter Geotechnical design basis and disposition roles] [Enter Survey control, geometry and closeout requirements] |
| Reference / locator | Topic guidance only; see Source Register. Enter the actual project document, revision and locator. |
| Trigger / frequency | As each excavation area or material condition is exposed, before concealment or dependent work. |
| Responsibility | Proposed: assigned earthworks supervisor / quality role performs and records; project-assigned reviewer acts only within documented authority. Confirm project roles: [Enter Performing, reviewing and contractual release roles]. |
| Point / external party | TBC; Proposed: [Enter project-assigned reviewing / release authority] |
| Notice / release | Proposed: Confirm project notice recipient, evidence, timing and release authority; no external control point is assigned. |
| Record | Bulk excavation observation |
| Applicability / remarks | Include only for work shown in this package scope. Proposed baseline. Confirm applicability and replace with controlled project requirement. |

## BEW-05 · Unsuitable or unexpected ground disposition

| Inspection / test | Identify material or ground conditions that do not match the documented design/material basis and trace the decision before removal or reuse. |
| --- | --- |
| Method | Mark the affected location and volume/extent where directed; notify the assigned geotechnical/design role and record written classification, treatment or destination instruction. |
| Acceptance condition | Affected material is segregated pending written project disposition; removal, treatment or reuse follows that instruction and is traceable to location and quantity basis. [Enter Geotechnical design basis and disposition roles] [Enter Material source, classification and use schedule] [Enter Project records and handover requirements] |
| Reference / locator | Topic guidance only; see Source Register. Enter the actual project document, revision and locator. |
| Trigger / frequency | Whenever changed or potentially unsuitable conditions are exposed and before the affected material is reused or concealed. |
| Responsibility | Proposed: assigned earthworks supervisor / quality role performs and records; project-assigned reviewer acts only within documented authority. Confirm project roles: [Enter Performing, reviewing and contractual release roles]. |
| Point / external party | TBC; Proposed: [Enter project-assigned reviewing / release authority] |
| Notice / release | Proposed: Confirm project notice recipient, evidence, timing and release authority; no external control point is assigned. |
| Record | Changed-ground / material disposition register |
| Applicability / remarks | Include only for work shown in this package scope. Proposed baseline. Confirm applicability and replace with controlled project requirement. |

## BEW-06 · Cut/fill material movement and stockpile control

| Inspection / test | Trace excavated material to the approved reuse area, stockpile or disposal destination and keep distinct streams identifiable. |
| --- | --- |
| Method | Review load/shift records and observe stockpile or placement identification against the approved material-use plan and environmental controls. |
| Acceptance condition | Material identity and destination remain traceable; material is not transferred into a different use zone without project approval; stockpiles are managed to the project requirements. [Enter Material source, classification and use schedule] [Enter Project earthworks specification and adopted standards] |
| Reference / locator | Topic guidance only; see Source Register. Enter the actual project document, revision and locator. |
| Trigger / frequency | For each identified material stream, stockpile establishment and change of destination. |
| Responsibility | Proposed: assigned earthworks supervisor / quality role performs and records; project-assigned reviewer acts only within documented authority. Confirm project roles: [Enter Performing, reviewing and contractual release roles]. |
| Point / external party | TBC; Proposed: [Enter project-assigned reviewing / release authority] |
| Notice / release | Proposed: Confirm project notice recipient, evidence, timing and release authority; no external control point is assigned. |
| Record | Earthworks material movement register |
| Applicability / remarks | Include only for work shown in this package scope. Proposed baseline. Confirm applicability and replace with controlled project requirement. |

## BEW-07 · Cut/fill interface and transition preparation

| Inspection / test | Inspect interfaces where excavation transitions to fill or where the project identifies a treatment detail. |
| --- | --- |
| Method | Compare the exposed interface and preparation record with the approved detail and geotechnical instruction; identify location and evidence before the next layer. |
| Acceptance condition | Interface treatment matches the specific drawing/detail or written disposition; unresolved soft spots, steps or changed conditions remain open until disposition. [Enter Approved civil / services drawings and revisions] [Enter Geotechnical design basis and disposition roles] |
| Reference / locator | Topic guidance only; see Source Register. Enter the actual project document, revision and locator. |
| Trigger / frequency | At each designed or instructed transition before it is covered by subsequent work. |
| Responsibility | Proposed: assigned earthworks supervisor / quality role performs and records; project-assigned reviewer acts only within documented authority. Confirm project roles: [Enter Performing, reviewing and contractual release roles]. |
| Point / external party | TBC; Proposed: [Enter project-assigned reviewing / release authority] |
| Notice / release | Proposed: Confirm project notice recipient, evidence, timing and release authority; no external control point is assigned. |
| Record | Cut/fill interface record |
| Applicability / remarks | Include only for work shown in this package scope. Proposed baseline. Confirm applicability and replace with controlled project requirement. |

## BEW-08 · Bulk formation trim, drainage and protection

| Inspection / test | Check completed bulk formation shape, surface condition, drainage and protection before handover to the next trade. |
| --- | --- |
| Method | Walk the defined area; compare visible geometry and surface/drainage arrangements with project drawings and inspect for damage or water accumulation. |
| Acceptance condition | Formation matches the nominated project detail and documented tolerances; damage or water effects are recorded and corrected by an approved disposition before handover. [Enter Approved civil / services drawings and revisions] [Enter Survey control, geometry and closeout requirements] [Enter Project earthworks specification and adopted standards] |
| Reference / locator | Topic guidance only; see Source Register. Enter the actual project document, revision and locator. |
| Trigger / frequency | Each completed formation area at handover and after damage or remedial work. |
| Responsibility | Proposed: assigned earthworks supervisor / quality role performs and records; project-assigned reviewer acts only within documented authority. Confirm project roles: [Enter Performing, reviewing and contractual release roles]. |
| Point / external party | TBC; Proposed: [Enter project-assigned reviewing / release authority] |
| Notice / release | Proposed: Confirm project notice recipient, evidence, timing and release authority; no external control point is assigned. |
| Record | Formation inspection and handover record |
| Applicability / remarks | Include only for work shown in this package scope. Proposed baseline. Confirm applicability and replace with controlled project requirement. |

## BEW-09 · As-built survey and bulk earthworks closeout

| Inspection / test | Reconcile completed extents and levels with required as-built evidence, open dispositions and handover records. |
| --- | --- |
| Method | Review survey files, material movement/disposition records, field observations, approved rework evidence and outstanding items against the project closeout list. |
| Acceptance condition | Required records identify the completed zone and current revision; specified survey deliverables are submitted; open departures have a documented owner and disposition. [Enter Survey control, geometry and closeout requirements] [Enter Project records and handover requirements] |
| Reference / locator | Topic guidance only; see Source Register. Enter the actual project document, revision and locator. |
| Trigger / frequency | At completion of each bulk earthworks zone before closeout or dependent handover. |
| Responsibility | Proposed: assigned earthworks supervisor / quality role performs and records; project-assigned reviewer acts only within documented authority. Confirm project roles: [Enter Performing, reviewing and contractual release roles]. |
| Point / external party | TBC; Proposed: [Enter project-assigned reviewing / release authority] |
| Notice / release | Proposed: Confirm project notice recipient, evidence, timing and release authority; no external control point is assigned. |
| Record | Bulk earthworks closeout index |
| Applicability / remarks | Include only for work shown in this package scope. Proposed baseline. Confirm applicability and replace with controlled project requirement. |

# Blank matching record prompts

Complete the actual date, observation, result and responsible roles during the work. Blank cells are intentional; this template contains no completed inspection or approval.

## BEW-01 · Scope, design basis and work-front release

| Field | Actual entry / evidence |
| --- | --- |
| Work zone / chainage |  |
| Drawing / spec / report revisions |  |
| Open conflict / decision reference |  |
| Date / location / lot |  |
| Actual observation / result / unit |  |
| Original evidence / report reference |  |
| Disposition / corrective action / recheck |  |
| Performed by / date |  |
| Reviewed / decision reference |  |

## BEW-02 · Survey control and bulk set-out

| Field | Actual entry / evidence |
| --- | --- |
| Area / chainage |  |
| Control mark / datum |  |
| Design level / drawing locator |  |
| Set-out record reference |  |
| Date / location / lot |  |
| Actual observation / result / unit |  |
| Original evidence / report reference |  |
| Disposition / corrective action / recheck |  |
| Performed by / date |  |
| Reviewed / decision reference |  |

## BEW-03 · Clearance, stripping and topsoil segregation

| Field | Actual entry / evidence |
| --- | --- |
| Permit / service clearance ref. |  |
| Area / drawing item |  |
| Stripped material / destination |  |
| Stockpile ID / photo ref. |  |
| Date / location / lot |  |
| Actual observation / result / unit |  |
| Original evidence / report reference |  |
| Disposition / corrective action / recheck |  |
| Performed by / date |  |
| Reviewed / decision reference |  |

## BEW-04 · Bulk excavation and cut to design formation

| Field | Actual entry / evidence |
| --- | --- |
| Area / chainage |  |
| Cut level / drawing reference |  |
| Observed material / water / anomaly |  |
| Instruction / disposition ref. |  |
| Date / location / lot |  |
| Actual observation / result / unit |  |
| Original evidence / report reference |  |
| Disposition / corrective action / recheck |  |
| Performed by / date |  |
| Reviewed / decision reference |  |

## BEW-05 · Unsuitable or unexpected ground disposition

| Field | Actual entry / evidence |
| --- | --- |
| Location / limits |  |
| Observed condition |  |
| Written disposition ref. |  |
| Approved treatment / destination |  |
| Date / location / lot |  |
| Actual observation / result / unit |  |
| Original evidence / report reference |  |
| Disposition / corrective action / recheck |  |
| Performed by / date |  |
| Reviewed / decision reference |  |

## BEW-06 · Cut/fill material movement and stockpile control

| Field | Actual entry / evidence |
| --- | --- |
| Material description / source |  |
| Quantity / load reference |  |
| Reuse area / stockpile / disposal ref. |  |
| Use approval / instruction ref. |  |
| Date / location / lot |  |
| Actual observation / result / unit |  |
| Original evidence / report reference |  |
| Disposition / corrective action / recheck |  |
| Performed by / date |  |
| Reviewed / decision reference |  |

## BEW-07 · Cut/fill interface and transition preparation

| Field | Actual entry / evidence |
| --- | --- |
| Interface / drawing locator |  |
| Observed preparation |  |
| Disposition / treatment ref. |  |
| Photo / survey ref. |  |
| Date / location / lot |  |
| Actual observation / result / unit |  |
| Original evidence / report reference |  |
| Disposition / corrective action / recheck |  |
| Performed by / date |  |
| Reviewed / decision reference |  |

## BEW-08 · Bulk formation trim, drainage and protection

| Field | Actual entry / evidence |
| --- | --- |
| Area / chainage |  |
| Drawing / level criterion locator |  |
| Surface / drainage observation |  |
| Receiving trade / date reference |  |
| Date / location / lot |  |
| Actual observation / result / unit |  |
| Original evidence / report reference |  |
| Disposition / corrective action / recheck |  |
| Performed by / date |  |
| Reviewed / decision reference |  |

## BEW-09 · As-built survey and bulk earthworks closeout

| Field | Actual entry / evidence |
| --- | --- |
| Zone / drawing reference |  |
| As-built survey file / revision |  |
| Open NCR / disposition ref. |  |
| Submission / handover ref. |  |
| Date / location / lot |  |
| Actual observation / result / unit |  |
| Original evidence / report reference |  |
| Disposition / corrective action / recheck |  |
| Performed by / date |  |
| Reviewed / decision reference |  |

# Topic guidance sources and limitations

## Queensland Department of Transport and Main Roads, MRTS04 General Earthworks (March 2025)

Inspected official PDF and local searchable extract industry-library/text/tmr-mrts04.txt. Topic locators: 1.1-1.2 scope (printed specification pp. 1-2); 5.2-5.6 procedures, testing/lotting (printed pp. 15-19); 6 geometry (printed pp. 19-20); 8 topsoil (printed pp. 22-24); 9 unsuitable material (printed pp. 25-26); 13 excavation (printed pp. 34-38); 14 Earth Fill (printed pp. 38-47); 15 Compaction (printed pp. 48-53); 19 Backfill (printed pp. 67-74).

https://www.tmr.qld.gov.au/-/media/busind/techstdpubs/Specifications-and-drawings/Specifications/3-Roadworks-Drainage-Culverts-and-Geotechnical/MRTS04.pdf

Inspected topic example for Queensland road and bridge earthworks only. Supports identification of process topics, documentary controls, materials, geometry, excavation, fill, compaction, backfill and the fact that lot/test rules are specified. Its technical values, tests, frequencies, lot sizes, control points and roles are not defaults; use only if the project contract adopts this edition and applicable annexures.

## Hutchinson Builders, Safety & Quality Planning: 010 Groundworks ITP and Report (EXAMPLE)

Official downloads page lists 010 Groundworks ITP and 010 Groundworks Report; both DOCX files downloaded and text-extracted 2026-10-07 from the linked Toolbox files. ITP table rows 3-11 cover bulk set-out, fill source, excavation, fill operations, bottom/surface preparation, compaction/soil-strength records and final inspection; rows 12-25 cover detailed earthworks, trench/pit bottoms, bedding/blinding, backfill, regulatory records and closeout. Matching report table rows 2-4 capture lot/location/open-close/comments/signature; rows 8-32 carry process, specification, acceptance, pass/fail, CAR, initials and date.

https://subbies.hutchies.com.au/resources/videos/safety-and-quality-planning

Builder example marked EXAMPLE; used only to check broad staging and useful lot/report fields. Many acceptance/frequency/role cells are blank. It does not set universal criteria, regulatory steps or release authority. Original DOCX files are not redistributed.

## Construction Quality Australia, How to create an Inspection and Test Plan

Official industry guide, sections 1-4, previously inspected and summarized in skills/au-construction-itp/references/template-writing-guide.md.

https://www.cqa.org.au/post/guide-how-to-create-an-inspection-and-test-plan-itp

Method structure only: sequence checkable activities and specify method, acceptance source, trigger/frequency, responsibility, control and records. Does not substantiate earthworks technical limits or project requirements.

Topic guidance is provided for orientation only. Confirm applicable jurisdictional adoption, approved design and contract requirements. No cited source substitutes for the complete controlled project documents or licensed standards.