# Concrete Curing and Protection Record

Blank project field record  |  Complete from current approved documents and site observations

Scope

Included: Curing/protection observation for ordinary cast-in-place concrete after placement/finishing through the project-defined closeout, including traceability if an approved product is used.

Excluded: Setting universal duration/environment limits; approving a method or product; prescribing application technique; testing concrete strength; certification; permission to strip, load or proceed.

Use and project setup

Project field: Project / contractor  ______________________________________________

Project field: Element / grid / curing-zone map  ______________________________________________

Project field: Pour / lot / placement record  ______________________________________________

Project field: Approved method / procedure rev  ______________________________________________

Project field: Product / batch / TDS rev if used  ______________________________________________

Project field: Start / monitoring log refs  ______________________________________________

Project field: Interruption / repair / NCR ref  ______________________________________________

Project field: Recorder / reviewer roles  ______________________________________________

Before inspection: Approved project curing method/procedure and concrete specification — Defines method, start trigger, duration, environmental checks and record requirements.

Before inspection: Element/zone map and placement/finish log — Connects curing area to the actual concrete lot and start event.

Before inspection: Exact approved product/TDS/submittal if used — Product compatibility and use conditions depend on current specific system.

Before inspection: Project monitoring and interruption response — Supplies actual readings, evidence intervals and corrective action path.

Before inspection: Protection and separate stripping/loading release criteria — Keeps curing observation distinct from design or contractual permission for later work.

How to use

1. Identify exact area/element, approved method, project-specific time/monitoring criteria and product evidence if applicable.

2. Record actual finishing/placement handover and observed curing start with source log.

3. Log only actual conditions and project-required measurements with time, unit, method/instrument and evidence.

4. Map interruption, exposure, damage, repair and recheck; do not infer continuity from appearance alone.

5. Close the curing record only against project criteria and keep any separate structural/contractual release with its assigned role.

6. Use the curing log for repeat entries; continue on another blank copy when needed and retain the linked original evidence.

Important: Blank field record. Use actual project method and product instructions, record observed events/measurements only, and obtain separate release where required. Curing records do not establish strength or loading permission.

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

CC-01 Element, area and approved curing basis

| What to observe | Concrete lot and mapped zone, placement/finish record, current curing procedure/revision, specified duration/monitoring basis and assigned role. |
| --- | --- |
| How to check | Reconcile actual area to pour map; review controlled project documents and note which conditions apply to each zone. |
| Acceptance basis | The actual zone and pour can be matched to the approved curing basis and required monitoring/closeout criteria. Missing method, duration or zone applicability is identified for direction; no generic curing period is assumed. |
| Reference to verify | Approved project curing procedure and concrete specification clauses, element/zone map, placement/finish record and assigned monitoring roles. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Element / grid / zone map |  |
| Pour lot / placement ref |  |
| Curing procedure / revision |  |
| Duration / monitoring clause |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

CC-02 Method and product traceability

| What to observe | Actual method observed; where compound/proprietary product is used, product name, batch, current data sheet and approval/submittal. |
| --- | --- |
| How to check | Compare label and actual application to approved project submittal; link batch and application evidence. |
| Acceptance basis | Observed method and any product identity/batch are consistent with the approved submittal and exact applicable instructions, with discrepancies recorded. Suitability or compatibility is confirmed by the project evidence rather than this form. |
| Reference to verify | Approved curing method/product submittal, exact product data sheet and revision if used, product label/batch and actual application record. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Method observed / date |  |
| Product / batch if used |  |
| Current TDS / approval ref |  |
| Application evidence / discrepancy |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

CC-03 Observed curing start and initial application

| What to observe | Actual finishing/placement handover, observed curing start time, initial protected condition and installer/observer. |
| --- | --- |
| How to check | Use contemporaneous site record; distinguish actual event from planned schedule. Attach dated observation evidence. |
| Acceptance basis | The recorded start event and initial condition are traceable to contemporaneous evidence and checked against the project-defined trigger/instructions. An unknown or late start is identified for assigned disposition, without a default time window. |
| Reference to verify | Project procedure defining the curing start trigger, applicable approved product instructions and contemporaneous placement/finish/curing-start log. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Finish / placement handover time |  |
| Actual start time / date |  |
| Area / initial condition |  |
| Observer role / evidence ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

CC-04 Continuity and project-defined duration

| What to observe | Dated monitoring entries, observed coverage/condition by mapped area, project-required intervals and interruptions/inaccessible area. |
| --- | --- |
| How to check | Use the actual monitoring plan and dated log; map any gap and connect it to the instruction and evidence. |
| Acceptance basis | Dated observations cover the required zones and monitoring basis, with continuity, gaps and end evidence checked against the actual project criteria. Interruption or inaccessible areas remain identified; a planned duration is not proof of completion. |
| Reference to verify | Project monitoring plan and duration/condition clause, area map, dated curing log and any interruption/inaccessible-area disposition. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Monitoring times / observers |  |
| Zone / condition observed |  |
| Project interval / duration clause |  |
| Interruption period / affected area |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

CC-05 Environmental evidence required by project

| What to observe | Actual weather/ambient/element observation and measured readings only where project requires; units, times, instrument/method and source. |
| --- | --- |
| How to check | Record actual readings with instrument ID and evidence; if no measurement required, state factual observation rather than estimate. |
| Acceptance basis | Any required reading has a recorded parameter, unit, time/location, method/instrument and evidence source, and is assessed only against the project criterion. Estimated or unavailable measurements are not presented as actual readings. |
| Reference to verify | Project procedure requiring the specific environmental parameter, measurement method and frequency, plus actual instrument/log/weather evidence. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Required parameter / exact clause |  |
| Actual value / unit if measured |  |
| Time / location / instrument |  |
| Log / photo / weather source ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

CC-06 Protection, disruption, repair and recheck

| What to observe | Protection/access condition, interruption or exposure, damage/contamination, affected area/time, approved action and reinspection. |
| --- | --- |
| How to check | Walk the defined zone; map observations and link photos, instruction, repair and recheck evidence. |
| Acceptance basis | Protection condition, disruption and damage are recorded by affected zone/time, with corrective instruction and recheck evidence linked. Outstanding issues are carried forward; protection observations do not establish in-place strength. |
| Reference to verify | Project protection/access method, mapped observation/photo, written corrective instruction or repair/NCR and recheck record. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Protection / affected area |  |
| Interruption / damage and time |  |
| Instruction / NCR / repair ref |  |
| Recheck evidence / date |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

CC-07 Curing closeout and separate project release

| What to observe | Project-required log completion evidence, open exceptions, contractor closeout, reviewer record and any separate stripping/loading/follow-on release. |
| --- | --- |
| How to check | Check dated log against exact project criteria; keep contractor completion, technical review and contractual release separate. |
| Acceptance basis | The project-required curing logs and closure evidence have been reviewed by the assigned role, with open conditions recorded. Any separate structural/contractual release remains separately evidenced; this log cannot authorise stripping or loading. |
| Reference to verify | Project curing-closeout criteria and evidence register, assigned review arrangements and separate stripping/loading release documents where required. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Completion criterion / clause |  |
| Evidence pack / log ref |  |
| Open issue disposition ref |  |
| Recorder / assigned reviewer roles and dates |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Curing log

Use one row per actual area monitoring event. Enter the project method, criteria and required monitoring basis in the check pages first. Record actual observed conditions/readings and interruption actions, not an inferred continuous history. Continue on another copy as needed.

Project / contract: ______________________________    Element / pour / lot: ______________________________    Date / shift: ____________________

Location / area: ______________________________    Record reference / revision: ______________________________

| Observation date / time | Element / zone / pour | Method / procedure ref | Start / event log ref | Actual condition observed | Reading / unit / method if required | Interruption / affected area ref | Action / recheck ref | Observer / evidence ref |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Issues and corrective action

Project: _____________________  Location / room / element: _____________________  Inspection date: _____________________

| Item / date | Issue and immediate action | Disposition / corrective instruction | Recheck evidence / date | Responsible role / reference |
| --- | --- | --- | --- | --- |

Unresolved items: identify affected area, status, person notified, instruction / NCR reference and any condition before concealment or next work.

Concrete curing and protection handover

Project: _____________________  Location / room / element: _____________________  Date: _____________________

Record handover status

[  ] Record completed; evidence filed

[  ] Action or recheck remains open

[  ] Project / technical disposition required

This status reports curing evidence and open actions only. It does not establish in-place strength, certify compliance, release a contractual point or authorize stripping, loading or follow-on work.

Handover roles and references

Curing recorder / installer role / date  ______________________________________________

Assigned curing reviewer role / date  ______________________________________________

Separate project release role / reference if required  ______________________________________________

Open NCR / repair / disposition ref  ______________________________________________

Signatures record the named person’s stated role and entry only. They do not by themselves approve design, certify compliance, release a contractual control point or authorize the next activity.

Source notes

These references explain topic and record design. They do not supply universal project acceptance values. Confirm the contract documents, applicable jurisdiction and approved product/system before use.

Cavoren cast-in-place concrete baseline

Role: Scope context only; not independent technical authority or project acceptance criteria.

Locator: Original proposed curing/protection topic CON-13 and closeout interface CON-15.

Source URL: https://itp.cavoren.net/templates/concrete/

Queensland Department of Transport and Main Roads, MRTS70 Concrete (July 2022)

Role: Topic guidance only. MRTS70 is for Queensland road/bridge infrastructure contracts (or other specified elements). Its values, timing limits, test frequencies, qualifications, H/W points, project roles and release rules are not generalized into these records.

Locator: July 2022, 17.15 (normal-class concrete curing topics), 15.11 (in-situ curing) and 14 (defects/rectification). Verify the applicable project method and adopted provisions; no duration is transferred.

Source URL: https://www.tmr.qld.gov.au/-/media/busind/techstdpubs/Specifications-and-drawings/Specifications/2-Bridges-and-Structures/MRTS70.pdf

Hutchies 040 Concrete Place Report (public Word report template)

Role: Contractor-specific example of report layout and handover, not universal criteria. No Hutchies text is reproduced.

Locator: Public 040 Concrete Place Report: header and closeout fields, rows 6–13 on discharge, placement, protection, curing and final records review. Contractor example only; no technical acceptance conditions are adopted.

Source URL: https://toolbox.hutchies.com.au/uploads/040-Concrete-Place-Report.docx