electrical-itp-template | Inspection and Test Plan
[Fill: project name] | Ordinary Low-Voltage Building Electrical Installation ITP — Editable Baseline — free editable baseline | [Fill: Australian state/territory] | Rev 00 | 2026-10-06 | For review
Contractor: [Fill: contractor]    Client: [Fill: client]
Scope: Original reusable baseline for ordinary low-voltage building electrical installation work such as general lighting, socket outlets, distribution boards and associated wiring. Excludes high voltage/network works, hazardous areas, solar PV/battery, fire detection, security/access control, lifts, specialist systems and temporary construction supplies unless separately scoped. This is an inspection plan, not an electrical design, certificate, licence or authorisation. This is a free, editable, proposed baseline and is not tailored to a project, approved by a client, or evidence of completed inspection. Before use, complete the scope questions and bracketed fields, confirm every criterion and control against current project documents, and remove non-applicable rows.
Exclusions: Confirm exclusions for this project; use the scope notes above.
	ID
	Stage
	Inspection / test
	Method
	Acceptance requirement
	Reference
	Frequency
	Responsible role
	Point
	Approval / witness party
	Notice / release
	Record
	Remarks

	EL01
	Scope and regulatory basis
	Proposed: baseline — Confirm circuits, areas, system boundaries, exclusions and jurisdiction.
	Proposed: baseline — Review approved scope, electrical drawings, schedules and state regulatory requirements.
	Proposed: baseline — Package covers only listed work [Fill: Installation scope]; relevant jurisdiction, system boundaries and exclusions are stated.
	Guidance only; see Source Register: NSW-SIR-2025, CQA-ITP
	Proposed: Once before installation; update on approved revision.
	Proposed: electrical contractor/design reviewer.
	TBC
	Proposed: [Fill: reviewing role / authority assigned by project]
	Proposed: Confirm required notice period, who receives notice, release authority and whether a contractual hold/witness point applies.
	Electrical scope and compliance register
	Proposed: Check this baseline row against project documents; edit or remove it if it does not apply.

	EL02
	Personnel and approvals
	Proposed: baseline — Check responsible electrical contractor/worker and required licences or authorisations are identified.
	Proposed: baseline — Verify applicable jurisdiction licence/authorisation evidence and any network/inspection approval required for scope.
	Proposed: baseline — Work is assigned to persons authorised for the work under applicable state rules; required inspection/certificate roles are identified.
	Guidance only; see Source Register: ESV-COES, NSW-SIR-2025
	Proposed: Before work and when personnel/scope changes.
	Proposed: Electrical contractor.
	TBC
	Proposed: [Fill: reviewing role / authority assigned by project]
	Proposed: Confirm required notice period, who receives notice, release authority and whether a contractual hold/witness point applies.
	Electrical personnel and approval register
	Proposed: Check this baseline row against project documents; edit or remove it if it does not apply.

	EL03
	Design and equipment submittal
	Proposed: baseline — Review drawings, circuit schedules, equipment ratings, protective devices and approved substitutions.
	Proposed: baseline — Check against approved design, specification, equipment schedules and coordination/interface documents.
	Proposed: baseline — Installed design/equipment agrees with approved documents [Fill: Approved electrical drawings/schedules]/[Fill: Electrical specification/compliance pathway]; unresolved design conflicts are raised before installation.
	Guidance only; see Source Register: CQA-ITP
	Proposed: Each system/submittal and revision.
	Proposed: electrical contractor submits; designer/client reviews as specified.
	TBC
	Proposed: [Fill: reviewing role / authority assigned by project]
	Proposed: Confirm required notice period, who receives notice, release authority and whether a contractual hold/witness point applies.
	Electrical design/submittal register
	Proposed: Check this baseline row against project documents; edit or remove it if it does not apply.

	EL04
	Incoming materials
	Proposed: baseline — Check cables, accessories, enclosures and equipment identity, ratings, condition and traceability.
	Proposed: baseline — Visual inspection; compare markings and delivery documents with approved schedule/submittal.
	Proposed: baseline — Items match approved make/model/type/rating [Fill: Equipment/material submittals] and are undamaged, correctly identified and traceable.
	Guidance only; see Source Register: CQA-ITP
	Proposed: Each delivery/batch before installation.
	Proposed: electrical contractor.
	TBC
	Proposed: [Fill: reviewing role / authority assigned by project]
	Proposed: Confirm required notice period, who receives notice, release authority and whether a contractual hold/witness point applies.
	Electrical materials register
	Proposed: Check this baseline row against project documents; edit or remove it if it does not apply.

	EL05
	Containment and supports
	Proposed: baseline — Inspect conduits, trays, trunking, supports, segregation, routes and penetrations.
	Proposed: baseline — Visual check and measure route/support details against drawings, specification, manufacturer instructions and fire/acoustic details where applicable.
	Proposed: baseline — Route, support, segregation and penetrations match approved design [Fill: Approved electrical drawings/schedules] and applicable specified details; no unapproved interference or damage.
	Guidance only; see Source Register: CQA-ITP
	Proposed: Each area before cable pull and before concealment.
	Proposed: electrical contractor.
	TBC
	Proposed: [Fill: reviewing role / authority assigned by project]
	Proposed: Confirm required notice period, who receives notice, release authority and whether a contractual hold/witness point applies.
	Containment inspection checklist
	Proposed: Check this baseline row against project documents; edit or remove it if it does not apply.

	EL06
	Concealed wiring
	Proposed: baseline — Check cable type/size/route, protection, separation, identification and support before concealment.
	Proposed: baseline — Visual inspection against approved circuit schedules and project requirements; photograph concealed work.
	Proposed: baseline — Cable and installation details match approved schedule [Fill: Approved electrical drawings/schedules]/[Fill: Electrical specification/compliance pathway]; circuit identity and any required protection/separation are verified.
	Guidance only; see Source Register: CQA-ITP
	Proposed: Each area before concealment.
	Proposed: electrical contractor; builder coordinates access.
	TBC
	Proposed: [Fill: reviewing role / authority assigned by project]
	Proposed: Confirm required notice period, who receives notice, release authority and whether a contractual hold/witness point applies.
	Concealed electrical works checklist
	Proposed: Check this baseline row against project documents; edit or remove it if it does not apply.

	EL07
	Cable installation and termination
	Proposed: baseline — Inspect pulling, bend/routing condition, gland/termination, conductor identification and workmanship.
	Proposed: baseline — Visual inspection against manufacturer instructions and approved equipment/circuit details.
	Proposed: baseline — Cable installation and terminations are complete, undamaged, correctly identified and compatible with equipment instructions [Fill: Equipment/material submittals]/[Fill: Approved electrical drawings/schedules].
	Guidance only; see Source Register: CQA-ITP
	Proposed: Each circuit/termination before energisation.
	Proposed: electrical contractor.
	TBC
	Proposed: [Fill: reviewing role / authority assigned by project]
	Proposed: Confirm required notice period, who receives notice, release authority and whether a contractual hold/witness point applies.
	Circuit installation checklist
	Proposed: Check this baseline row against project documents; edit or remove it if it does not apply.

	EL08
	Switchboards and equipment mounting
	Proposed: baseline — Check location, mounting, enclosure, access, identification and installed components.
	Proposed: baseline — Visual/measured inspection against approved schedules, drawings and manufacturer data.
	Proposed: baseline — Equipment location, enclosure, clearances/access, component schedule and identification match approved documents [Fill: Approved electrical drawings/schedules]/[Fill: Equipment/material submittals]; required covers/barriers fitted.
	Guidance only; see Source Register: CQA-ITP
	Proposed: Each board/equipment item before connection.
	Proposed: electrical contractor; reviewer if specified.
	TBC
	Proposed: [Fill: reviewing role / authority assigned by project]
	Proposed: Confirm required notice period, who receives notice, release authority and whether a contractual hold/witness point applies.
	Equipment installation checklist
	Proposed: Check this baseline row against project documents; edit or remove it if it does not apply.

	EL09
	Earthing and bonding
	Proposed: baseline — Check earthing/bonding conductors, connections, continuity provisions and labels per design.
	Proposed: baseline — Visual verification and tests by appropriately licensed/authorised person using approved safe procedure and applicable standard.
	Proposed: baseline — Earthing/bonding arrangement matches approved design and applicable adopted requirements [Fill: Verification/test requirements]; actual test results meet criteria confirmed by responsible electrician. Specific applicable acceptance: [Fill: Earthing/bonding verification criteria].
	Guidance only; see Source Register: NSW-TEST-SCHEDULE, NSW-SIR-2025
	Proposed: Each relevant circuit/system before energisation.
	Proposed: Electrical contractor; verification by authorised electrical worker.
	TBC
	Proposed: [Fill: reviewing role / authority assigned by project]
	Proposed: Confirm required notice period, who receives notice, release authority and whether a contractual hold/witness point applies.
	Earthing and bonding verification record
	Proposed: Check this baseline row against project documents; edit or remove it if it does not apply.

	EL10
	Electrical installation verification
	Proposed: baseline — Check required visual inspection and specified dead tests for completed installation.
	Proposed: baseline — Only responsible licensed/authorised electrical worker performs tests using their approved safe method; record actual values and instrument.
	Proposed: baseline — Specified tests are completed by authorised person and results meet project-adopted criteria [Fill: Verification/test requirements]; unresolved failures are corrected and retested. Specific applicable acceptance: [Fill: Installation verification criteria].
	Guidance only; see Source Register: NSW-TEST-SCHEDULE, NSW-SIR-2025, ESV-COES
	Proposed: Each circuit/system before energisation and at specified stage.
	Proposed: Licensed/authorised electrical worker.
	TBC
	Proposed: [Fill: reviewing role / authority assigned by project]
	Proposed: Confirm required notice period, who receives notice, release authority and whether a contractual hold/witness point applies.
	Electrical test results schedule
	Proposed: Check this baseline row against project documents; edit or remove it if it does not apply.

	EL11
	Protective devices and settings
	Proposed: baseline — Verify selected protective device identity, rating and approved settings.
	Proposed: baseline — Compare installed item and settings with approved coordination/protection schedule; licensed worker verifies.
	Proposed: baseline — Device and settings match approved design/schedule [Fill: Approved electrical drawings/schedules]; any variation has documented design approval.
	Guidance only; see Source Register: CQA-ITP
	Proposed: Each device/board before functional test.
	Proposed: Electrical contractor; designer/protection engineer confirms settings where required.
	TBC
	Proposed: [Fill: reviewing role / authority assigned by project]
	Proposed: Confirm required notice period, who receives notice, release authority and whether a contractual hold/witness point applies.
	Protective device/settings register
	Proposed: Check this baseline row against project documents; edit or remove it if it does not apply.

	EL12
	Functional and polarity checks
	Proposed: baseline — Verify specified switching, polarity/circuit connection, phase sequence or functional operation as applicable.
	Proposed: baseline — Authorised electrical worker follows applicable adopted procedure and records results; only perform tests in safe state.
	Proposed: baseline — Specified functions and connection checks meet approved circuit/design requirements [Fill: Verification/test requirements]; record exceptions and retests. Specific applicable acceptance: [Fill: Connection and functional verification criteria].
	Guidance only; see Source Register: NSW-TEST-SCHEDULE, NSW-SIR-2025
	Proposed: Each applicable circuit/device during verification.
	Proposed: Licensed/authorised electrical worker.
	TBC
	Proposed: [Fill: reviewing role / authority assigned by project]
	Proposed: Confirm required notice period, who receives notice, release authority and whether a contractual hold/witness point applies.
	Functional test record
	Proposed: Check this baseline row against project documents; edit or remove it if it does not apply.

	EL13
	RCD/protection functional testing
	Proposed: baseline — Where included, verify specified device operation and record test particulars.
	Proposed: baseline — Authorised person uses applicable adopted test method and specified criteria; distinguish commissioning verification from routine user pushbutton checks.
	Proposed: baseline — Installed device and results meet specified circuit schedule and adopted verification criteria [Fill: Verification/test requirements]; no generic trip limits are inserted. Specific applicable acceptance: [Fill: Protective-device test criteria].
	Guidance only; see Source Register: NSW-TEST-SCHEDULE
	Proposed: Each applicable device at specified verification stage.
	Proposed: Licensed/authorised electrical worker.
	TBC
	Proposed: [Fill: reviewing role / authority assigned by project]
	Proposed: Confirm required notice period, who receives notice, release authority and whether a contractual hold/witness point applies.
	RCD/protection test schedule
	Proposed: Check this baseline row against project documents; edit or remove it if it does not apply.

	EL14
	Defects and retesting
	Proposed: baseline — Track nonconformances, corrective work and repeat verification.
	Proposed: baseline — Record affected circuit/equipment, defect, authorised repair, retest results and revised status.
	Proposed: baseline — Each nonconformance is closed against approved corrective action; failed affected tests are repeated and documented before release.
	Guidance only; see Source Register: CQA-ITP
	Proposed: Each defect/retest.
	Proposed: Electrical contractor; reviewer per project.
	TBC
	Proposed: [Fill: reviewing role / authority assigned by project]
	Proposed: Confirm required notice period, who receives notice, release authority and whether a contractual hold/witness point applies.
	Electrical defect and retest register
	Proposed: Check this baseline row against project documents; edit or remove it if it does not apply.

	EL15
	Pre-energisation readiness
	Proposed: baseline — Check covers, barriers, labels, test completion, approvals and interface prerequisites before energisation.
	Proposed: baseline — Documented walkdown by responsible electrical contractor; verify statutory/network approvals and isolation/energisation plan.
	Proposed: baseline — Required installation verification and approvals are complete; the responsible authorised person confirms safe prerequisites under applicable rules [Fill: Energisation/interface requirements].
	Guidance only; see Source Register: NSW-SIR-2025, ESV-COES
	Proposed: Each board/system before energisation.
	Proposed: Electrical contractor and authorised person; DNSP/ASP only within their authority.
	TBC
	Proposed: [Fill: reviewing role / authority assigned by project]
	Proposed: Confirm required notice period, who receives notice, release authority and whether a contractual hold/witness point applies.
	Pre-energisation checklist
	Proposed: Check this baseline row against project documents; edit or remove it if it does not apply.

	EL16
	Energisation and commissioning
	Proposed: baseline — Record controlled energisation and specified system function/commissioning checks.
	Proposed: baseline — Responsible authorised person records date, circuits/systems energised, checks and exceptions; follow approved switching arrangements.
	Proposed: baseline — Energisation is authorised and specified commissioning functions meet approved design; exceptions are isolated and resolved.
	Guidance only; see Source Register: NSW-SIR-2025
	Proposed: Each system/energisation event.
	Proposed: Authorised electrical person; network provider where required.
	TBC
	Proposed: [Fill: reviewing role / authority assigned by project]
	Proposed: Confirm required notice period, who receives notice, release authority and whether a contractual hold/witness point applies.
	Energisation and commissioning record
	Proposed: Check this baseline row against project documents; edit or remove it if it does not apply.

	EL17
	Certificates and handover
	Proposed: baseline — Verify required certificates, test reports, as-builts, schedules, product records and approvals.
	Proposed: baseline — Review jurisdictional certificate requirements and contract handover index.
	Proposed: baseline — Applicable certificates and records are issued by the required person and match installed scope; as-built circuit/equipment information is complete.
	Guidance only; see Source Register: ESV-COES, NSW-SIR-2025
	Proposed: Once per package and after approved changes.
	Proposed: Electrical contractor submits; builder compiles; regulator/inspector only as required.
	TBC
	Proposed: [Fill: reviewing role / authority assigned by project]
	Proposed: Confirm required notice period, who receives notice, release authority and whether a contractual hold/witness point applies.
	Electrical completion and handover register
	Proposed: Check this baseline row against project documents; edit or remove it if it does not apply.



Inspection point key
Inspection point key: H = Proposed Hold Point - use only if assigned in the contract | W = Proposed Witness Point - use only if assigned in the contract | R = Proposed Review | S = Proposed Surveillance | TBC = To be confirmed | N/A = Not applicable. External H/W rights and whether work may proceed are governed by the project contract and approved process; proposed points require agreement.


Blank Inspection Record Forms
[Fill: project name] | electrical-itp-template | Record actual observations during the work. No results or signatures are pre-filled.
	ITP ID / Stage
	Inspection / method / acceptance
	Location / lot
	Date and result
	Evidence / record ref.
	Performed by / signature
	Reviewed by / signature

	EL01 | Scope and regulatory basis
	Proposed: baseline — Confirm circuits, areas, system boundaries, exclusions and jurisdiction.
Method: Proposed: baseline — Review approved scope, electrical drawings, schedules and state regulatory requirements.
Accept when: Proposed: baseline — Package covers only listed work [Fill: Installation scope]; relevant jurisdiction, system boundaries and exclusions are stated.
Record: Electrical scope and compliance register
	
	Date: __________
Actual result/observation: __________
Evidence/photo/report reference: __________
Result / disposition: __________
Corrective action / retest ref.: __________
	
	
	

	EL02 | Personnel and approvals
	Proposed: baseline — Check responsible electrical contractor/worker and required licences or authorisations are identified.
Method: Proposed: baseline — Verify applicable jurisdiction licence/authorisation evidence and any network/inspection approval required for scope.
Accept when: Proposed: baseline — Work is assigned to persons authorised for the work under applicable state rules; required inspection/certificate roles are identified.
Record: Electrical personnel and approval register
	
	Date: __________
Actual result/observation: __________
Evidence/photo/report reference: __________
Result / disposition: __________
Corrective action / retest ref.: __________
	
	
	

	EL03 | Design and equipment submittal
	Proposed: baseline — Review drawings, circuit schedules, equipment ratings, protective devices and approved substitutions.
Method: Proposed: baseline — Check against approved design, specification, equipment schedules and coordination/interface documents.
Accept when: Proposed: baseline — Installed design/equipment agrees with approved documents [Fill: Approved electrical drawings/schedules]/[Fill: Electrical specification/compliance pathway]; unresolved design conflicts are raised before installation.
Record: Electrical design/submittal register
	
	Date: __________
Actual result/observation: __________
Evidence/photo/report reference: __________
Result / disposition: __________
Corrective action / retest ref.: __________
	
	
	

	EL04 | Incoming materials
	Proposed: baseline — Check cables, accessories, enclosures and equipment identity, ratings, condition and traceability.
Method: Proposed: baseline — Visual inspection; compare markings and delivery documents with approved schedule/submittal.
Accept when: Proposed: baseline — Items match approved make/model/type/rating [Fill: Equipment/material submittals] and are undamaged, correctly identified and traceable.
Record: Electrical materials register
	
	Date: __________
Actual result/observation: __________
Evidence/photo/report reference: __________
Result / disposition: __________
Corrective action / retest ref.: __________
	
	
	

	EL05 | Containment and supports
	Proposed: baseline — Inspect conduits, trays, trunking, supports, segregation, routes and penetrations.
Method: Proposed: baseline — Visual check and measure route/support details against drawings, specification, manufacturer instructions and fire/acoustic details where applicable.
Accept when: Proposed: baseline — Route, support, segregation and penetrations match approved design [Fill: Approved electrical drawings/schedules] and applicable specified details; no unapproved interference or damage.
Record: Containment inspection checklist
	
	Date: __________
Actual result/observation: __________
Evidence/photo/report reference: __________
Result / disposition: __________
Corrective action / retest ref.: __________
	
	
	

	EL06 | Concealed wiring
	Proposed: baseline — Check cable type/size/route, protection, separation, identification and support before concealment.
Method: Proposed: baseline — Visual inspection against approved circuit schedules and project requirements; photograph concealed work.
Accept when: Proposed: baseline — Cable and installation details match approved schedule [Fill: Approved electrical drawings/schedules]/[Fill: Electrical specification/compliance pathway]; circuit identity and any required protection/separation are verified.
Record: Concealed electrical works checklist
	
	Date: __________
Actual result/observation: __________
Evidence/photo/report reference: __________
Result / disposition: __________
Corrective action / retest ref.: __________
	
	
	

	EL07 | Cable installation and termination
	Proposed: baseline — Inspect pulling, bend/routing condition, gland/termination, conductor identification and workmanship.
Method: Proposed: baseline — Visual inspection against manufacturer instructions and approved equipment/circuit details.
Accept when: Proposed: baseline — Cable installation and terminations are complete, undamaged, correctly identified and compatible with equipment instructions [Fill: Equipment/material submittals]/[Fill: Approved electrical drawings/schedules].
Record: Circuit installation checklist
	
	Date: __________
Actual result/observation: __________
Evidence/photo/report reference: __________
Result / disposition: __________
Corrective action / retest ref.: __________
	
	
	

	EL08 | Switchboards and equipment mounting
	Proposed: baseline — Check location, mounting, enclosure, access, identification and installed components.
Method: Proposed: baseline — Visual/measured inspection against approved schedules, drawings and manufacturer data.
Accept when: Proposed: baseline — Equipment location, enclosure, clearances/access, component schedule and identification match approved documents [Fill: Approved electrical drawings/schedules]/[Fill: Equipment/material submittals]; required covers/barriers fitted.
Record: Equipment installation checklist
	
	Date: __________
Actual result/observation: __________
Evidence/photo/report reference: __________
Result / disposition: __________
Corrective action / retest ref.: __________
	
	
	

	EL09 | Earthing and bonding
	Proposed: baseline — Check earthing/bonding conductors, connections, continuity provisions and labels per design.
Method: Proposed: baseline — Visual verification and tests by appropriately licensed/authorised person using approved safe procedure and applicable standard.
Accept when: Proposed: baseline — Earthing/bonding arrangement matches approved design and applicable adopted requirements [Fill: Verification/test requirements]; actual test results meet criteria confirmed by responsible electrician. Specific applicable acceptance: [Fill: Earthing/bonding verification criteria].
Record: Earthing and bonding verification record
	
	Date: __________
Circuit/equipment ID: __________
Test method/reference: __________
Instrument ID: __________
Calibration due/date: __________
Measured result: __________
Unit: __________
Acceptance criterion reference: __________
Result / disposition: __________
Corrective action / retest ref.: __________
	
	
	

	EL10 | Electrical installation verification
	Proposed: baseline — Check required visual inspection and specified dead tests for completed installation.
Method: Proposed: baseline — Only responsible licensed/authorised electrical worker performs tests using their approved safe method; record actual values and instrument.
Accept when: Proposed: baseline — Specified tests are completed by authorised person and results meet project-adopted criteria [Fill: Verification/test requirements]; unresolved failures are corrected and retested. Specific applicable acceptance: [Fill: Installation verification criteria].
Record: Electrical test results schedule
	
	Date: __________
Circuit ID: __________
Test type: __________
Method/reference: __________
Instrument ID: __________
Actual reading: __________
Unit: __________
Criterion source/location: __________
Pass/fail/exception: __________
Result / disposition: __________
Corrective action / retest ref.: __________
	
	
	

	EL11 | Protective devices and settings
	Proposed: baseline — Verify selected protective device identity, rating and approved settings.
Method: Proposed: baseline — Compare installed item and settings with approved coordination/protection schedule; licensed worker verifies.
Accept when: Proposed: baseline — Device and settings match approved design/schedule [Fill: Approved electrical drawings/schedules]; any variation has documented design approval.
Record: Protective device/settings register
	
	Date: __________
Actual result/observation: __________
Evidence/photo/report reference: __________
Result / disposition: __________
Corrective action / retest ref.: __________
	
	
	

	EL12 | Functional and polarity checks
	Proposed: baseline — Verify specified switching, polarity/circuit connection, phase sequence or functional operation as applicable.
Method: Proposed: baseline — Authorised electrical worker follows applicable adopted procedure and records results; only perform tests in safe state.
Accept when: Proposed: baseline — Specified functions and connection checks meet approved circuit/design requirements [Fill: Verification/test requirements]; record exceptions and retests. Specific applicable acceptance: [Fill: Connection and functional verification criteria].
Record: Functional test record
	
	Date: __________
Circuit/device ID: __________
Function/test: __________
Method/reference: __________
Instrument ID: __________
Actual reading: __________
Unit: __________
Outcome/exception: __________
Result / disposition: __________
Corrective action / retest ref.: __________
	
	
	

	EL13 | RCD/protection functional testing
	Proposed: baseline — Where included, verify specified device operation and record test particulars.
Method: Proposed: baseline — Authorised person uses applicable adopted test method and specified criteria; distinguish commissioning verification from routine user pushbutton checks.
Accept when: Proposed: baseline — Installed device and results meet specified circuit schedule and adopted verification criteria [Fill: Verification/test requirements]; no generic trip limits are inserted. Specific applicable acceptance: [Fill: Protective-device test criteria].
Record: RCD/protection test schedule
	
	Date: __________
Device ID: __________
Test type: __________
Instrument ID: __________
Measured value: __________
Unit: __________
Criterion source/location: __________
Pass/fail/exception: __________
Result / disposition: __________
Corrective action / retest ref.: __________
	
	
	

	EL14 | Defects and retesting
	Proposed: baseline — Track nonconformances, corrective work and repeat verification.
Method: Proposed: baseline — Record affected circuit/equipment, defect, authorised repair, retest results and revised status.
Accept when: Proposed: baseline — Each nonconformance is closed against approved corrective action; failed affected tests are repeated and documented before release.
Record: Electrical defect and retest register
	
	Date: __________
Actual result/observation: __________
Evidence/photo/report reference: __________
Result / disposition: __________
Corrective action / retest ref.: __________
	
	
	

	EL15 | Pre-energisation readiness
	Proposed: baseline — Check covers, barriers, labels, test completion, approvals and interface prerequisites before energisation.
Method: Proposed: baseline — Documented walkdown by responsible electrical contractor; verify statutory/network approvals and isolation/energisation plan.
Accept when: Proposed: baseline — Required installation verification and approvals are complete; the responsible authorised person confirms safe prerequisites under applicable rules [Fill: Energisation/interface requirements].
Record: Pre-energisation checklist
	
	Date: __________
Actual result/observation: __________
Evidence/photo/report reference: __________
Result / disposition: __________
Corrective action / retest ref.: __________
	
	
	

	EL16 | Energisation and commissioning
	Proposed: baseline — Record controlled energisation and specified system function/commissioning checks.
Method: Proposed: baseline — Responsible authorised person records date, circuits/systems energised, checks and exceptions; follow approved switching arrangements.
Accept when: Proposed: baseline — Energisation is authorised and specified commissioning functions meet approved design; exceptions are isolated and resolved.
Record: Energisation and commissioning record
	
	Date: __________
Actual result/observation: __________
Evidence/photo/report reference: __________
Result / disposition: __________
Corrective action / retest ref.: __________
	
	
	

	EL17 | Certificates and handover
	Proposed: baseline — Verify required certificates, test reports, as-builts, schedules, product records and approvals.
Method: Proposed: baseline — Review jurisdictional certificate requirements and contract handover index.
Accept when: Proposed: baseline — Applicable certificates and records are issued by the required person and match installed scope; as-built circuit/equipment information is complete.
Record: Electrical completion and handover register
	
	Date: __________
Actual result/observation: __________
Evidence/photo/report reference: __________
Result / disposition: __________
Corrective action / retest ref.: __________
	
	
	





Source Register
	Source ID
	Title / filename
	Revision
	Type
	Path / URL

	NSW-SIR-2025
	NSW Government, Service and Installation Rules (June 2025 issue surfaced in search; current issue must be checked)
	See linked source; verify current edition and project adoption
	guidance
	https://www.energy.nsw.gov.au/nsw-plans-and-progress/regulation-and-policy/service-and-installation-rules

	NSW-TEST-SCHEDULE
	SafeWork NSW, Schedule of test results form
	See linked source; verify current edition and project adoption
	guidance
	https://www.safework.nsw.gov.au/__data/assets/pdf_file/0018/1411920/Schedule_of_test_results.pdf

	ESV-COES
	Energy Safe Victoria, Certificates of Electrical Safety for consumers (reviewed September 2026)
	See linked source; verify current edition and project adoption
	guidance
	https://www.energysafe.vic.gov.au/certificates-electrical-safety/certificates-electrical-safety-consumers

	NSW-SIR-CURRENT
	NSW Government, Service and Installation Rules current-edition page
	See linked source; verify current edition and project adoption
	guidance
	https://www.energy.nsw.gov.au/nsw-plans-and-progress/regulation-and-policy/service-and-installation-rules

	CQA-ITP
	Construction Quality Association, Guide: How to create an ITP
	See linked source; verify current edition and project adoption
	guidance
	https://www.cqa.org.au/post/guide-how-to-create-an-inspection-and-test-plan-itp



Open Confirmations
	Issue ID
	Priority
	ITP rows
	Open item
	Action needed

	CONF-001
	confirmation
	EL01
	EL01: verify scope and project-specific requirements for this proposed baseline row.
	Check current contract, drawings, specification, approved method, adopted standards and assigned roles; edit or delete this row as needed.

	CONF-002
	confirmation
	EL02
	EL02: verify scope and project-specific requirements for this proposed baseline row.
	Check current contract, drawings, specification, approved method, adopted standards and assigned roles; edit or delete this row as needed.

	CONF-003
	confirmation
	EL03
	EL03: verify scope and project-specific requirements for this proposed baseline row.
	Check current contract, drawings, specification, approved method, adopted standards and assigned roles; edit or delete this row as needed.

	CONF-004
	confirmation
	EL04
	EL04: verify scope and project-specific requirements for this proposed baseline row.
	Check current contract, drawings, specification, approved method, adopted standards and assigned roles; edit or delete this row as needed.

	CONF-005
	confirmation
	EL05
	EL05: verify scope and project-specific requirements for this proposed baseline row.
	Check current contract, drawings, specification, approved method, adopted standards and assigned roles; edit or delete this row as needed.

	CONF-006
	confirmation
	EL06
	EL06: verify scope and project-specific requirements for this proposed baseline row.
	Check current contract, drawings, specification, approved method, adopted standards and assigned roles; edit or delete this row as needed.

	CONF-007
	confirmation
	EL07
	EL07: verify scope and project-specific requirements for this proposed baseline row.
	Check current contract, drawings, specification, approved method, adopted standards and assigned roles; edit or delete this row as needed.

	CONF-008
	confirmation
	EL08
	EL08: verify scope and project-specific requirements for this proposed baseline row.
	Check current contract, drawings, specification, approved method, adopted standards and assigned roles; edit or delete this row as needed.

	CONF-009
	confirmation
	EL09
	EL09: verify scope and project-specific requirements for this proposed baseline row.
	Check current contract, drawings, specification, approved method, adopted standards and assigned roles; edit or delete this row as needed.

	CONF-010
	confirmation
	EL10
	EL10: verify scope and project-specific requirements for this proposed baseline row.
	Check current contract, drawings, specification, approved method, adopted standards and assigned roles; edit or delete this row as needed.

	CONF-011
	confirmation
	EL11
	EL11: verify scope and project-specific requirements for this proposed baseline row.
	Check current contract, drawings, specification, approved method, adopted standards and assigned roles; edit or delete this row as needed.

	CONF-012
	confirmation
	EL12
	EL12: verify scope and project-specific requirements for this proposed baseline row.
	Check current contract, drawings, specification, approved method, adopted standards and assigned roles; edit or delete this row as needed.

	CONF-013
	confirmation
	EL13
	EL13: verify scope and project-specific requirements for this proposed baseline row.
	Check current contract, drawings, specification, approved method, adopted standards and assigned roles; edit or delete this row as needed.

	CONF-014
	confirmation
	EL14
	EL14: verify scope and project-specific requirements for this proposed baseline row.
	Check current contract, drawings, specification, approved method, adopted standards and assigned roles; edit or delete this row as needed.

	CONF-015
	confirmation
	EL15
	EL15: verify scope and project-specific requirements for this proposed baseline row.
	Check current contract, drawings, specification, approved method, adopted standards and assigned roles; edit or delete this row as needed.

	CONF-016
	confirmation
	EL16
	EL16: verify scope and project-specific requirements for this proposed baseline row.
	Check current contract, drawings, specification, approved method, adopted standards and assigned roles; edit or delete this row as needed.

	CONF-017
	confirmation
	EL17
	EL17: verify scope and project-specific requirements for this proposed baseline row.
	Check current contract, drawings, specification, approved method, adopted standards and assigned roles; edit or delete this row as needed.







