# Electrical Pre-Energisation Readiness Record

Blank project field record  |  Complete from current approved documents and site observations

Scope

Included: Document and visual readiness checks: installation identity, completed work/test evidence, enclosure and labelling, access/coordination, required statutory inspection/certificate status, unresolved defects and named decision authority.

Excluded: Permission to energise; statutory certificate or inspector sign-off; operating or switching instructions; live testing; protection settings; network connection approval; universal acceptance criteria.

Use and project setup

Project field: Project / jurisdiction / supply authority  ______________________________________________

Project field: Installation / board / isolation boundary ID  ______________________________________________

Project field: Proposed connection scope / date window  ______________________________________________

Project field: Approved energisation procedure / revision  ______________________________________________

Project field: Electrical contractor / responsible person  ______________________________________________

Project field: Required inspector / network / client approvals  ______________________________________________

Project field: Test / certificate / inspection report refs  ______________________________________________

Project field: Open defects / permits / interface status  ______________________________________________

Before inspection: Jurisdiction and network/distribution business requirements — Identify connection, inspection, notification and certificate conditions.

Before inspection: Approved project energisation and commissioning plan — Name actual authorising roles, prerequisites, sequence and records.

Before inspection: Issued electrical test reports and statutory certificates — Confirm evidence comes from responsible authorised parties.

Before inspection: Defect/NCR and permit registers — Identify unresolved safety, access, isolation, temporary supply and interface issues.

Before inspection: Switchboard/circuit schedules and as-built documents — Confirm installation identity, required labels and controlled drawings.

How to use

1. Identify jurisdiction, exact installation/work boundary and current controlled drawing revision.

2. Enter applicable project acceptance references, methods, limits, witness points and responsible roles from approved project documents; no defaults are supplied.

3. Record actual observations/results only from contemporaneous work or issued reports, retaining units, report IDs and revisions.

4. Maintain a dated, attributable event trail for defects, repair, retest and disposition; preserve earlier entries.

5. Keep project release, statutory certificate, inspector sign-off or connection authorisation as separate evidence linked by reference.

Important: Blank field record for ordinary building low-voltage electrical work only. Project documents and applicable state or territory requirements control. This record is neither a statutory certificate, electrical test certification, inspector approval nor authorisation to connect or energise. Do not perform electrical work or tests unless appropriately licensed/authorised. Actual results, dates, decisions and signatures remain blank until contemporaneous evidence is entered by the responsible person.

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

EPR-01 Scope and boundary identity

| What to observe | Installation, board, circuits, work extent, proposed connection boundary and current drawing revision. |
| --- | --- |
| How to check | Compare requested scope with controlled schedules and nominated supply/network interface. |
| Acceptance basis | Connection request maps to defined scope and current approved documents. |
| Reference to verify | Approved project electrical specification, jurisdictional rules, drawings and controlled test/inspection plan; record exact revision/clause. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Installation / board ID |  |
| Boundary / circuits |  |
| Drawing revision |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

EPR-02 Installation completion and physical condition

| What to observe | Visible enclosure completeness, covers/barriers, access, damage and required identification. |
| --- | --- |
| How to check | Visual/document review by assigned electrical personnel against approved design and inspection plan; no intrusive/live procedure specified. |
| Acceptance basis | Completion evidence is present and visible issues dispositioned by responsible contractor. |
| Reference to verify | Approved project electrical specification, jurisdictional rules, drawings and controlled test/inspection plan; record exact revision/clause. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Condition / label refs |  |
| Open defect IDs |  |
| Photo ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

EPR-03 Required test and commissioning evidence

| What to observe | Required test schedule rows, issued report IDs, incomplete items and accepted project review references. |
| --- | --- |
| How to check | Reconcile approved plan against issued test reports; do not interpret blank as completion or set limits here. |
| Acceptance basis | Every required item is evidenced or explicitly dispositioned by authorised role. |
| Reference to verify | Approved project electrical specification, jurisdictional rules, drawings and controlled test/inspection plan; record exact revision/clause. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Test schedule ref |  |
| Report / revision |  |
| Review/disposition ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

EPR-04 Statutory inspection and certificate pathway

| What to observe | Jurisdiction, work classification, required certificate/inspection, issuer, inspector and status references. |
| --- | --- |
| How to check | Verify actual jurisdictional process with responsible contractor and regulator/network requirements; record IDs, not substitute declarations. |
| Acceptance basis | Required jurisdictional certificate and inspection steps are evidenced where applicable. |
| Reference to verify | Approved project electrical specification, jurisdictional rules, drawings and controlled test/inspection plan; record exact revision/clause. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Jurisdiction / work type |  |
| Certificate / inspector ref |  |
| Status / evidence |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

EPR-05 Interfaces, permits and open safety-related items

| What to observe | Network/client approvals, trade interfaces, access control, permit status and unresolved NCRs affecting connection. |
| --- | --- |
| How to check | Review controlled registers and assigned approvals; refer unresolved controls to responsible duty holder. |
| Acceptance basis | Required interface approvals are recorded and no unresolved item affecting scope is hidden by a general pass. |
| Reference to verify | Approved project electrical specification, jurisdictional rules, drawings and controlled test/inspection plan; record exact revision/clause. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Approval / permit ref |  |
| Interface / NCR |  |
| Owner / due ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

EPR-06 Authorised connection decision and handover

| What to observe | Named decision maker, role/authority, separate approval reference, date/time and released boundary. |
| --- | --- |
| How to check | Record decision only when made by authorised role; enter reference and limits of that decision. |
| Acceptance basis | Separate explicit authorisation is linked to defined boundary before connection work proceeds. |
| Reference to verify | Approved project electrical specification, jurisdictional rules, drawings and controlled test/inspection plan; record exact revision/clause. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Decision role / authority |  |
| Approval ref / boundary |  |
| Date / handover ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Electrical Pre-Energisation Readiness Record event log

Use one row per defined area/circuit/check event. Keep project criteria separate from actual observations and reported results. Preserve failed and superseded entries; link every decision to its authorised role and separate evidence. This log does not certify work or authorise connection.

Project / contract: ______________________________    Element / pour / lot: ______________________________    Date / shift: ____________________

Location / area: ______________________________    Record reference / revision: ______________________________

| Date / event | Area / board / circuit | Drawing / revision | Check / test category | Project method / criterion ref | Actual result / unit or observation | Report / photo / NCR ref | Action / retest / disposition | Role / reviewer / authority ref | Status / handover ref |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Issues and corrective action

Project: _____________________  Location / room / element: _____________________  Inspection date: _____________________

| Item / date | Issue and immediate action | Disposition / corrective instruction | Recheck evidence / date | Responsible role / reference |
| --- | --- | --- | --- | --- |

Unresolved items: identify affected area, status, person notified, instruction / NCR reference and any condition before concealment or next work.

Electrical work evidence handover

Project: _____________________  Location / room / element: _____________________  Date: _____________________

Record evidence status

[  ] Evidence linked for assigned reviewer

[  ] Defect / required test / report remains open

[  ] Separate statutory, inspector, network or project decision required

This field record preserves inspection and document references. It is not a statutory certificate, test certification, inspector sign-off, project release or authority to connect/energise.

Handover roles and references

Installer / authorised electrical worker / scope and date  ______________________________________________

Field recorder / role / evidence reference  ______________________________________________

Electrical contractor responsible person / licence or authorisation ref  ______________________________________________

Inspector / regulator / network approval reference where applicable  ______________________________________________

Project reviewer / disposition reference  ______________________________________________

Open defects / retest / as-built references  ______________________________________________

Signatures record the named person’s stated role and entry only. They do not by themselves approve design, certify compliance, release a contractual control point or authorize the next activity.

Source notes

These references explain topic and record design. They do not supply universal project acceptance values. Confirm the contract documents, applicable jurisdiction and approved product/system before use.

Queensland Electrical Safety Office, Guidelines for testing low voltage electrical installations (2026)

Role: Queensland technical guidance; it does not set project criteria or authorise unqualified persons to test.

Locator: 2026 guide, visual inspection before mandatory tests and verification sections. Used for evidence categories and sequence context only.

Source URL: https://www.worksafe.qld.gov.au/__data/assets/pdf_file/0026/158525/guide-for-testing-low-voltage-electrical-installations.pdf

WorkSafe Queensland, Electrical safety in the construction industry

Role: Queensland jurisdictional guidance informing role and construction context.

Locator: Construction electrical safety: electrical work by licensed/authorised persons; construction wiring inspection/testing by a qualified person before use.

Source URL: https://www.worksafe.qld.gov.au/safety-and-prevention/hazards/electricity/industry-specific-electrical-hazards/electrical-safety-in-the-construction-industry

WorkSafe Queensland, Issuing certificates of compliance

Role: State-specific statutory certificate context. This record is expressly not that certificate.

Locator: Certificate of testing and compliance requirements for installation work and responsible issuer under Queensland rules.

Source URL: https://www.worksafe.qld.gov.au/laws-and-compliance/electrical-safety-laws/issuing-certificates-of-compliance

Energy Safe Victoria, Electrical installation FAQ

Role: Victoria-specific process example, subject to jurisdiction and work classification.

Locator: Testing and inspection; prescribed work inspection before connection, including main switchboard example.

Source URL: https://www.energysafe.vic.gov.au/industry-guidance/electrical/frequently-asked-questions/electrical-installation

Energy Safe Victoria, Prescribed and non-prescribed work

Role: Victoria-specific statutory boundary; not generalized to other jurisdictions.

Locator: Prescribed installation work inspection, including consumer mains, main earthing and relevant main switchboard components.

Source URL: https://www.energysafe.vic.gov.au/certificates-electrical-safety/obligations-and-guidelines/prescribed-and-non-prescribed-work