# Electrical Rough-In Inspection Record

Blank project field record  |  Complete from current approved documents and site observations

Scope

Included: Visual and document checks of identified ordinary low-voltage rough-in work while accessible: route and circuit identity, support/protection, separation and interfaces, penetrations/fire-stopping coordination, enclosure condition and concealment evidence.

Excluded: Electrical design; conductor or protective-device selection/sizing; testing, commissioning, energisation or certification; high voltage, hazardous areas, PV/battery or specialist installations; and universal spacing, support interval, depth, separation or fire-rating values.

Use and project setup

Project field: Project / jurisdiction / contractor  ______________________________________________

Project field: Area / level / room / grid  ______________________________________________

Project field: Drawing / revision / circuit schedule ref  ______________________________________________

Project field: Circuit / cable / containment identity  ______________________________________________

Project field: Origin and destination / board reference  ______________________________________________

Project field: Concealment stage / inspection notice  ______________________________________________

Project field: Penetration / fire compartment / interface refs  ______________________________________________

Project field: Photo / NCR / RFI / disposition refs  ______________________________________________

Before inspection: Approved electrical drawings, schedules and specifications — Identify design intent, routes, circuits, cable and containment requirements and revision.

Before inspection: Current coordination and fire-compartment details — Locate interfaces, penetrations, separation and required fire-stopping detail.

Before inspection: Project inspection and concealment schedule — Identify notice, witness and release roles before work becomes inaccessible.

Before inspection: Product approvals and installation instructions — Verify installed cable, containment, supports and protection against accepted submittals.

Before inspection: Electrical contractor work method and risk controls — Define qualified personnel, access controls and safe inspection arrangements.

How to use

1. Identify jurisdiction, exact installation/work boundary and current controlled drawing revision.

2. Enter applicable project acceptance references, methods, limits, witness points and responsible roles from approved project documents; no defaults are supplied.

3. Record actual observations/results only from contemporaneous work or issued reports, retaining units, report IDs and revisions.

4. Maintain a dated, attributable event trail for defects, repair, retest and disposition; preserve earlier entries.

5. Keep project release, statutory certificate, inspector sign-off or connection authorisation as separate evidence linked by reference.

Important: Blank field record for ordinary building low-voltage electrical work only. Project documents and applicable state or territory requirements control. This record is neither a statutory certificate, electrical test certification, inspector approval nor authorisation to connect or energise. Do not perform electrical work or tests unless appropriately licensed/authorised. Actual results, dates, decisions and signatures remain blank until contemporaneous evidence is entered by the responsible person.

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

RIR-01 Area, circuit and drawing identity

| What to observe | Area, level, circuit or cable ID, origin/destination and current drawing/schedule revision. |
| --- | --- |
| How to check | Trace visible work to approved drawing and circuit schedule; note deviations for disposition. |
| Acceptance basis | Installed extent is identifiable and checked against current approved design documents. |
| Reference to verify | Approved project electrical specification, jurisdictional rules, drawings and controlled test/inspection plan; record exact revision/clause. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Area / circuit |  |
| Drawing revision |  |
| Origin / destination |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

RIR-02 Route, supports and mechanical protection

| What to observe | Visible route, containment type, support arrangement, edge protection and exposure to damage. |
| --- | --- |
| How to check | Compare installed arrangement to project details and approved product instructions; record locations without generic intervals. |
| Acceptance basis | Project-specified support and protection are evidenced for this route. |
| Reference to verify | Approved project electrical specification, jurisdictional rules, drawings and controlled test/inspection plan; record exact revision/clause. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Route / containment |  |
| Support / protection detail |  |
| Photo / deviation ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

RIR-03 Segregation and service interfaces

| What to observe | Proximity/crossings with other services, incompatible systems, access zones and later trade interfaces. |
| --- | --- |
| How to check | Compare interface to coordinated approved drawings and project requirements; document unresolved crossings. |
| Acceptance basis | Required project separation and interface treatment are traceable. |
| Reference to verify | Approved project electrical specification, jurisdictional rules, drawings and controlled test/inspection plan; record exact revision/clause. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Crossing / interface |  |
| Coordination drawing |  |
| Disposition ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

RIR-04 Penetrations and fire-compartment interfaces

| What to observe | Penetration location, affected barrier identity and specified fire-stopping system/status. |
| --- | --- |
| How to check | Match penetration to current fire strategy/detail and approved system submittal; record fire-stop evidence separately. |
| Acceptance basis | Penetration treatment is traceable to approved project documents. |
| Reference to verify | Approved project electrical specification, jurisdictional rules, drawings and controlled test/inspection plan; record exact revision/clause. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Penetration ID |  |
| Barrier/detail ref |  |
| Fire-stop submittal |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

RIR-05 Cable / enclosure condition and ends

| What to observe | Visible damage, contamination, open ends, identification and protection at exposed terminations. |
| --- | --- |
| How to check | Visually inspect accessible work and compare identification/protection to project requirements; no electrical testing implied. |
| Acceptance basis | No unresolved visible damage or identification issue remains for this extent. |
| Reference to verify | Approved project electrical specification, jurisdictional rules, drawings and controlled test/inspection plan; record exact revision/clause. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Cable / enclosure ID |  |
| Observed defect |  |
| Repair ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

RIR-06 Concealment notice and evidence handover

| What to observe | Inspection request, witness requirement, open issues, photo coverage and authorised project release reference. |
| --- | --- |
| How to check | Reconcile notice and required witness with project inspection plan; record release evidence from assigned role. |
| Acceptance basis | Project-required pre-cover evidence and decisions are linked before concealment. |
| Reference to verify | Approved project electrical specification, jurisdictional rules, drawings and controlled test/inspection plan; record exact revision/clause. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Notice / witness ref |  |
| Open items |  |
| Release decision ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Electrical Rough-In Inspection Record event log

Use one row per defined area/circuit/check event. Keep project criteria separate from actual observations and reported results. Preserve failed and superseded entries; link every decision to its authorised role and separate evidence. This log does not certify work or authorise connection.

Project / contract: ______________________________    Element / pour / lot: ______________________________    Date / shift: ____________________

Location / area: ______________________________    Record reference / revision: ______________________________

| Date / event | Area / board / circuit | Drawing / revision | Check / test category | Project method / criterion ref | Actual result / unit or observation | Report / photo / NCR ref | Action / retest / disposition | Role / reviewer / authority ref | Status / handover ref |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Issues and corrective action

Project: _____________________  Location / room / element: _____________________  Inspection date: _____________________

| Item / date | Issue and immediate action | Disposition / corrective instruction | Recheck evidence / date | Responsible role / reference |
| --- | --- | --- | --- | --- |

Unresolved items: identify affected area, status, person notified, instruction / NCR reference and any condition before concealment or next work.

Electrical work evidence handover

Project: _____________________  Location / room / element: _____________________  Date: _____________________

Record evidence status

[  ] Evidence linked for assigned reviewer

[  ] Defect / required test / report remains open

[  ] Separate statutory, inspector, network or project decision required

This field record preserves inspection and document references. It is not a statutory certificate, test certification, inspector sign-off, project release or authority to connect/energise.

Handover roles and references

Installer / authorised electrical worker / scope and date  ______________________________________________

Field recorder / role / evidence reference  ______________________________________________

Electrical contractor responsible person / licence or authorisation ref  ______________________________________________

Inspector / regulator / network approval reference where applicable  ______________________________________________

Project reviewer / disposition reference  ______________________________________________

Open defects / retest / as-built references  ______________________________________________

Signatures record the named person’s stated role and entry only. They do not by themselves approve design, certify compliance, release a contractual control point or authorize the next activity.

Source notes

These references explain topic and record design. They do not supply universal project acceptance values. Confirm the contract documents, applicable jurisdiction and approved product/system before use.

Queensland Electrical Safety Office, Guidelines for testing low voltage electrical installations (2026)

Role: Queensland technical guidance; it does not set project criteria or authorise unqualified persons to test.

Locator: 2026 guide, visual inspection before mandatory tests and verification sections. Used for evidence categories and sequence context only.

Source URL: https://www.worksafe.qld.gov.au/__data/assets/pdf_file/0026/158525/guide-for-testing-low-voltage-electrical-installations.pdf

WorkSafe Queensland, Electrical safety in the construction industry

Role: Queensland jurisdictional guidance informing role and construction context.

Locator: Construction electrical safety: electrical work by licensed/authorised persons; construction wiring inspection/testing by a qualified person before use.

Source URL: https://www.worksafe.qld.gov.au/safety-and-prevention/hazards/electricity/industry-specific-electrical-hazards/electrical-safety-in-the-construction-industry

WorkSafe Queensland, Issuing certificates of compliance

Role: State-specific statutory certificate context. This record is expressly not that certificate.

Locator: Certificate of testing and compliance requirements for installation work and responsible issuer under Queensland rules.

Source URL: https://www.worksafe.qld.gov.au/laws-and-compliance/electrical-safety-laws/issuing-certificates-of-compliance

Energy Safe Victoria, Electrical installation FAQ

Role: Victoria-specific process example, subject to jurisdiction and work classification.

Locator: Testing and inspection; prescribed work inspection before connection, including main switchboard example.

Source URL: https://www.energysafe.vic.gov.au/industry-guidance/electrical/frequently-asked-questions/electrical-installation

Energy Safe Victoria, Prescribed and non-prescribed work

Role: Victoria-specific statutory boundary; not generalized to other jurisdictions.

Locator: Prescribed installation work inspection, including consumer mains, main earthing and relevant main switchboard components.

Source URL: https://www.energysafe.vic.gov.au/certificates-electrical-safety/obligations-and-guidelines/prescribed-and-non-prescribed-work