# Formwork Inspection Checklist

Blank project field record  |  Complete from current approved documents and site observations

Scope

Included: Installed formwork and associated falsework for ordinary cast-in-place slabs, pad footings and strip footings, before loading/concrete placement against project temporary-works documents.

Excluded: Temporary-works design/capacity calculations, independent design certification, complex suspended falsework, bridges/highways special provisions, jump/slip/travelling forms, major lift design, prestressing, demolition/stripping/load release and whole-pour release.

Use and project setup

Project field: Project / contractor  ______________________________________________

Project field: Element / formwork zone  ______________________________________________

Project field: Pour or lot reference  ______________________________________________

Project field: Inspection date  ______________________________________________

Project field: Temporary-works drawing / revision  ______________________________________________

Project field: Formwork system identifier  ______________________________________________

Before inspection: Element, formwork zone, pour/lot and system identifier — Makes the inspected assembly/configuration traceable.

Before inspection: Approved temporary-works drawings, system details and revision — Defines installed arrangement and inspection basis.

Before inspection: Design assumptions, support evidence and required independent check records — Allows checking that documents match visible conditions without recalculating capacity.

Before inspection: Structural/formwork geometry and project dimensional criteria — Provides project dimensions and tolerances for measurements.

Before inspection: Current pour method, access/SWMS and change-control procedure — Connects inspection to placement, loads, safe access and field-change escalation.

How to use

1. Define assembly boundary and gather controlled drawings, system instructions, structural interfaces, pour method and safety plan.

2. Inspect installed configuration and interfaces at work location; record component IDs and measurements against cited documents.

3. Keep design/check evidence separate from observations; do not infer capacity visually.

4. If system, support, loading, geometry or access differs from documents, identify change and refer under project change control.

5. Transfer any release decision to assigned authority and contractual ITP; this checklist does not authorize stripping.

Important: Blank field checklist for project adaptation. Use actual approved documents and project acceptance criteria. Record only observations made. This is not design approval, a temporary-works certificate, contractual Hold/Witness Point release, or permission to place, strip or load.

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

FW-01 Work package documents and design-check status

| What to observe | Identify element/boundary, current temporary-works drawings, design revision, erection sequence and required independent check/submission records. |
| --- | --- |
| How to check | Compare work area with controlled document register; verify status and that check records apply to actual system/configuration. |
| Acceptance basis | Use project temporary-works procedure, approved drawings, specification and contract points; cite design/check status without treating field inspection as design approval. |
| Reference to verify | Controlled temporary-works register, approved drawings, project procedure and required design/check records. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| element / formwork zone |  |
| drawing / rev |  |
| design-check record ref |  |
| open query / response |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

FW-02 System components and visible condition

| What to observe | Observe form face/framing, proprietary components, ties/connectors and reused parts for damage, deformation, corrosion, omissions or unapproved mixed systems. |
| --- | --- |
| How to check | Walk accessible faces and compare system identifiers/components with approved drawings, supplier details and inspection points. |
| Acceptance basis | Use approved project system/component schedule; damaged/reused component criteria come from project designer/manufacturer. |
| Reference to verify | Approved system/component schedule, manufacturer instructions and project condition/disposition criteria. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| system / component ID |  |
| location / condition |  |
| detail / drawing ref |  |
| photo / disposition ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

FW-03 Bearing, support and founding interface

| What to observe | Observe base plates, sole plates, bearers, props and actual ground/slab contact, including settlement, voids, disturbance or unplanned load transfer. |
| --- | --- |
| How to check | Inspect support points against approved details and project ground/floor information; record location and movement signs. |
| Acceptance basis | Use project design assumptions, approved support/founding detail and required ground/slab verification; no bearing capacity or prop load is set. |
| Reference to verify | Approved support/founding details, design assumptions and project ground/slab verification. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| support ID / location |  |
| bearing detail ref |  |
| contact / movement |  |
| verification / direction ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

FW-04 Line, level, dimensions and formed profile

| What to observe | Check installed form surface/edges against element geometry and setting-out information, including openings/steps in this package. |
| --- | --- |
| How to check | Measure project-designated points with identified instruments; record readings, grid/offset and drawing/detail. |
| Acceptance basis | Use approved structural/formwork drawings and project tolerances; do not use generic dimensional limits. |
| Reference to verify | Approved structural and formwork drawings and project dimensional criteria. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| grid / point |  |
| criterion / drawing ref |  |
| instrument / method |  |
| actual / unit / recheck |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

FW-05 Joints, sealing and concrete-loss paths

| What to observe | Inspect panel joints, corners, stop-ends, kickers, penetrations and closures for gaps, movement paths and sealing per approved detail/method. |
| --- | --- |
| How to check | Visually inspect joints and compare materials/detail with temporary-works drawings and pour method; photograph suspected leakage paths. |
| Acceptance basis | Use approved project joint/sealing detail and placement method; no generic gap limit or sealant prescription applies. |
| Reference to verify | Approved joint/sealing details and concrete placement method. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| joint / location |  |
| detail / material ref |  |
| seal condition |  |
| repair / recheck ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

FW-06 Bracing, ties, connections and restraint fit

| What to observe | Observe braces, ties, wedges, pins, clamps and connections for presence, orientation/engagement and visible damage against approved arrangement. |
| --- | --- |
| How to check | Inspect drawing-identified points; compare component and installation with system instructions/project erection details. |
| Acceptance basis | Use approved temporary-works design and manufacturer/project details; do not infer spacing, torque, capacity or allowable deflection. |
| Reference to verify | Approved bracing/tie/connection details and applicable system installation instructions. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| connection / location |  |
| system detail ref |  |
| engagement / defect |  |
| direction / recheck ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

FW-07 Cast-in openings and interface coordination

| What to observe | Check voids, block-outs, stop-ends or form interfaces shown on coordinated project drawings and within formwork package. |
| --- | --- |
| How to check | Compare with current structural/coordination details; verify secure fixing and no unapproved cuts/alterations to system. |
| Acceptance basis | Use approved coordinated drawings and temporary-works details; field-cut penetrations require approvals set by project design process. |
| Reference to verify | Approved coordination/opening drawings and temporary-works alteration details. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| opening / grid |  |
| coordination drawing ref |  |
| position / dimensions |  |
| response / recheck ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

FW-08 Access, edge protection and work-stage safety interface

| What to observe | Observe access route, working platform, edge/opening protection and safe arrangement relevant to inspecting/placing concrete. |
| --- | --- |
| How to check | Compare visible access/protection with project SWMS, work-at-height and temporary-works plans; refer hazards to site safety process. |
| Acceptance basis | Apply site safety plan and jurisdictional WHS requirements; checklist does not certify a platform, edge protection or SWMS. |
| Reference to verify | Site SWMS, access/work-at-height plans and applicable jurisdictional WHS requirements. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| zone / access point |  |
| SWMS / plan ref |  |
| hazard / reported role |  |
| correction evidence |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

FW-09 Placement-stage loads, access and change control

| What to observe | Confirm planned placement sequence, access and equipment are covered by current approved temporary-works/method documents; identify field changes. |
| --- | --- |
| How to check | Review method with responsible site role and compare planned sequence/equipment/configuration to documented design assumptions. |
| Acceptance basis | Use approved sequence and assumptions; no allowable load, pour rate, concrete pressure or vibration criterion is supplied. |
| Reference to verify | Approved placement method, temporary-works assumptions and written change review. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| method revision |  |
| design assumption ref |  |
| equipment / sequence |  |
| change approval ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Issues and corrective action

Project: _____________________  Location / room / element: _____________________  Inspection date: _____________________

| Item / date | Issue and immediate action | Disposition / corrective instruction | Recheck evidence / date | Responsible role / reference |
| --- | --- | --- | --- | --- |

Unresolved items: identify affected area, status, person notified, instruction / NCR reference and any condition before concealment or next work.

Formwork inspection handover

Project: _____________________  Location / room / element: _____________________  Date: _____________________

Field inspection handover status

[  ] Field observations recorded

[  ] Action / recheck outstanding

[  ] Temporary-works review required

This records the field inspection handover only. It is not design certification, authorization to pour, a Hold Point release, or permission to strip/load. Transfer the completed inspection and outstanding issues to the project-assigned temporary-works/project release process.

Handover roles and references

Field inspector name / role / date  ______________________________________________

Receiving temporary-works or project role / date  ______________________________________________

Open design query, NCR or change approval reference  ______________________________________________

Field inspector record

• Field inspector name/role/date  ______________________________________________

• Formwork zone/system and inspected configuration  ______________________________________________

• Observed condition, measurements and evidence refs  ______________________________________________

Design check record

• Temporary-works design and revision  ______________________________________________

• Designer and independent checker roles/identities  ______________________________________________

• Design assumptions and support evidence references  ______________________________________________

• Written change reassessment/approval reference  ______________________________________________

Project / contractual release record

• Project/temporary-works release role assigned by contract  ______________________________________________

• Decision scope and stage  ______________________________________________

• Decision status and conditions  ______________________________________________

• Date/time and ITP/control-point/notice reference  ______________________________________________

Role boundary: Field inspector records installed condition. Designer/checker owns design and required independent check; project role owns release. The checklist cannot certify capacity, alter design, release a Hold Point, or authorize placement, stripping or loading.

Signatures record the named person’s stated role and entry only. They do not by themselves approve design, certify compliance, release a contractual control point or authorize the next activity.

Source notes

These references explain topic and record design. They do not supply universal project acceptance values. Confirm the contract documents, applicable jurisdiction and approved product/system before use.

Cavoren cast-in-place concrete baseline

Role: Topic and sequence context only; not a project specification or independent technical authority.

Locator: Original proposed concrete baseline rows CON-01 to CON-08

Source URL: https://itp.cavoren.net/templates/concrete/

Queensland TMR MRTS70 Concrete, July 2022

Role: Topic guidance only for concrete/formwork interface. Queensland transport/infrastructure contract criteria are not universal building requirements.

Locator: Sections 15.5–15.9 (formwork/falsework, reinforcement, placement/compaction, early loading).

Source URL: https://www.tmr.qld.gov.au/_/media/busind/techstdpubs/specifications-and-drawings/specifications/2-bridges-and-structures/mrts70.pdf?extension=pdf&hash=BD4A48371C386F32622F6862572AA56A&rev=24517261eac44ddb86310c7980172050&sc_lang=en&size=1730809

Safe Work Australia, Guide to formwork, July 2014

Role: Safety interface guidance only. It does not replace temporary-works design, project acceptance criteria, jurisdiction-specific WHS advice or release.

Locator: PDF pages 1–4: formwork/falsework definitions, Design, formwork drawings, system components, erection/use safety and access prompts.

Source URL: https://www.safeworkaustralia.gov.au/system/files/documents/1703/guide-formwork.pdf