# Sanitary Drainage Installation and Pre-Cover Record

Blank project field record  |  Complete from current approved documents and site observations

Scope

Included: Ordinary building sanitary plumbing/drainage installation records for defined pipe segments, connections and inspection before concealment/backfill where applicable.

Excluded: Design sizing or gradients, universal levels or test criteria, on-site wastewater treatment, trade waste systems, industrial/process piping, gas, fire and public utility networks unless separately scoped and sourced.

Use and project setup

Project field: Project / building / jurisdiction  ______________________________________________

Project field: Drainage drawing / revision  ______________________________________________

Project field: Segment / from–to node IDs  ______________________________________________

Project field: Pipe / joint system  ______________________________________________

Project field: Design levels / criterion ref  ______________________________________________

Project field: Test method / report ref  ______________________________________________

Project field: Pre-cover notice / witness ref  ______________________________________________

Project field: As-built / NCR / disposition refs  ______________________________________________

Before inspection: Approved sanitary drainage plans and schedules — Identify current segment layout, nodes, sizes, levels, interfaces and revision.

Before inspection: Project material and joint submittals — Defines approved components, joint systems and installation requirements.

Before inspection: Project test specification and adopted standard — Supplies local method, acceptance criteria and any required test record; the form has no universal test settings.

Before inspection: Inspection, backfill and notification schedule — Assigns pre-cover checks, notice periods, witness role and any external notification/release.

Before inspection: As-built and nonconformance workflow — Defines required marked-up drawings, photo evidence, repair records and disposition.

How to use

1. Use a separate record for each identifiable segment or project-defined inspection lot; keep different systems and criteria separate.

2. Check current drainage drawing and node-to-node identity, then record actual observed geometry and interfaces against project references.

3. Record test method, values and outcome only from the approved procedure and actual test report; attach the source evidence.

4. Before backfill/concealment, link required inspection/notice, test, repairs, photos and as-built markups.

5. Leave any unclear criterion, missing test or covered uninspected extent open for project disposition.

Important: No gradient, invert tolerance, test method, pressure/head, duration or witness/release rule is prefilled. Confirm the jurisdiction, current approved drawings, project-adopted standard and inspection notice before covering work. WA Bulletin 133 is WA-specific guidance only.

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

SD-01 Drainage section identity and approved geometry

| What to observe | Drain line/branch ID, upstream/downstream nodes, drawing revision, pipe material/size, design direction and segment limits. |
| --- | --- |
| How to check | Trace the installed segment between identified connection points against approved drainage layout and schedule; record design references for any checked levels/grade. |
| Acceptance basis | Each observation belongs to a defined segment and current drawing; geometry and any numerical criteria are assessed only against project-approved design documents. |
| Reference to verify | Current approved project drawings, specification, adopted service standard and inspection/test plan; record exact document, revision, clause/detail and affected segment. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Drain line / segment ID |  |
| From–to nodes / pit refs |  |
| Material / nominal size as scheduled |  |
| Drawing / revision / detail |  |
| Design levels / criterion source |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

SD-BED Exposed trench, bedding and pipe support

| What to observe | Record trench condition, installed bedding and pipe support before they are concealed, where below-ground work is included. |
| --- | --- |
| How to check | Compare exposed work with the approved trench, bedding and embedment detail and relevant product instructions. Identify unstable formation, voids, debris, pipe movement and civil-work interfaces for project disposition. |
| Acceptance basis | Observed trench support, bedding and embedment correspond to the approved project detail. Material, thickness, cover and compaction requirements come from the actual applicable sources; this record supplies no default value. |
| Reference to verify | Enter approved drawing/detail and revision, applicable civil or geotechnical specification, and product installation instruction. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Drain run / inspection location |  |
| Drawing / bedding detail and revision |  |
| Formation condition / groundwater observation |  |
| Bedding material and evidence reference |  |
| Actual bedding / support observation or measurement and unit |  |
| Specified cover / surround criterion source |  |
| Civil interface / unresolved defect / reinspection reference |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

SD-02 Pipe, joint and connection workmanship

| What to observe | Pipe/fitting identity, joint type and visible condition, connection orientation, damage, contamination and transition to fixtures or other drains. |
| --- | --- |
| How to check | Inspect accessible work and compare joints/fittings with approved product submittal, installation details and method; capture photographs or location references where useful. |
| Acceptance basis | Installed components and observable joints correspond to the approved project system and are free of unresolved visible damage/defects; this blank form sets no dimensional or joint acceptance limit. |
| Reference to verify | Current approved project drawings, specification, adopted service standard and inspection/test plan; record exact document, revision, clause/detail and affected segment. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Pipe/fitting / product submittal ref |  |
| Joint type / installation method ref |  |
| Joint / connection location |  |
| Observed condition / defect |  |
| Photo / instruction ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

SD-03 Access, support and service separation

| What to observe | Inspection/cleaning access, supports/restraints where visible, penetrations and separation from stormwater or other systems at interfaces. |
| --- | --- |
| How to check | Compare accessible installation with approved coordination/service drawings and manufacturer/project details; identify access points and cross-system interfaces. |
| Acceptance basis | Required access and interfaces are identifiable and installed to current project details; keep stormwater and sanitary service identities distinct; any proposed cross-system connection needs verified design and applicable authority approval. |
| Reference to verify | Current approved project drawings, specification, adopted service standard and inspection/test plan; record exact document, revision, clause/detail and affected segment. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Access opening / cleaning point IDs |  |
| Support / penetration detail ref |  |
| Sanitary–stormwater separation observation |  |
| Interface / coordination drawing ref |  |
| Issue / instruction reference |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

SD-04 Specified test, result and defect closeout

| What to observe | Project-specified test method and exact source, section identity, actual test record/report, defects found, repairs and retest linkage. |
| --- | --- |
| How to check | Before testing, transcribe the locally applicable project method and criteria; after test, link the original report and any repair/retest in sequence. Record only the actual method and findings. |
| Acceptance basis | A required test is traceable to the defined section and project-approved criterion; any failure/repair/retest remains linked. WA Bulletin 133 details are not general project defaults. |
| Reference to verify | Current approved project drawings, specification, adopted service standard and inspection/test plan; record exact document, revision, clause/detail and affected segment. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Test required? / governing source |  |
| Method / clause / edition |  |
| Original report / actual result ref |  |
| Observed defect / location |  |
| Repair and retest IDs / date |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

SD-05 Pre-cover inspection and assigned release record

| What to observe | Whether required inspection/witness occurred before backfill or concealment, notice record, outstanding issues, as-installed markups and assigned release decision. |
| --- | --- |
| How to check | Compare the actual work stage with project inspection/notification schedule; link inspection photos, test evidence, marked-up drawings and release or hold instruction. |
| Acceptance basis | Required pre-cover observations and contractual notice/release evidence are present before concealment; record the actual authority and status from project documents. |
| Reference to verify | Current approved project drawings, specification, adopted service standard and inspection/test plan; record exact document, revision, clause/detail and affected segment. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Pre-cover date / exposed extent |  |
| Notice / witness / inspection record |  |
| Open NCR / repair / retest ref |  |
| As-built markup / photo refs |  |
| Release authority / decision / date |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Sanitary drainage segment and test log

Use one line per segment, inspection or actual test event. Link the segment to the approved nodes/drawing, method, original test report, repair/retest and pre-cover evidence. No local or WA numeric test setting is supplied.

Project / contract: ______________________________    Element / pour / lot: ______________________________    Date / shift: ____________________

Location / area: ______________________________    Record reference / revision: ______________________________

| Date / stage | Segment / node IDs | Drawing / revision | Joint / access / interface observation | Test method / source ref | Actual result / report ref | Defect / repair / retest ref | Pre-cover notice / release ref | Recorder / status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Issues and corrective action

Project: _____________________  Location / room / element: _____________________  Inspection date: _____________________

| Item / date | Issue and immediate action | Disposition / corrective instruction | Recheck evidence / date | Responsible role / reference |
| --- | --- | --- | --- | --- |

Unresolved items: identify affected area, status, person notified, instruction / NCR reference and any condition before concealment or next work.

Sanitary drainage pre-cover handover

Project: _____________________  Location / room / element: _____________________  Date: _____________________

Record inspection handover status

[  ] Record complete; source evidence linked

[  ] Issue, repair, retest or project decision remains open

[  ] Assigned project role review / disposition required

This record documents observations and links project evidence. It does not certify compliance, approve a design, create statutory notification or grant contractual release.

Handover roles and references

Installer / licensed role and date  ______________________________________________

Field inspector / role / date  ______________________________________________

Assigned authority / witness / release role and record ref  ______________________________________________

Open defect / repair / retest / as-built references  ______________________________________________

Signatures record the named person’s stated role and entry only. They do not by themselves approve design, certify compliance, release a contractual control point or authorize the next activity.

Source notes

These references explain topic and record design. They do not supply universal project acceptance values. Confirm the contract documents, applicable jurisdiction and approved product/system before use.

ABCB, NCC 2022 Volume Three — Plumbing Code of Australia

Role: Official scope and jurisdictional topic framework; does not provide project-specific field test acceptance values.

Locator: Section B water services and Section C sanitary plumbing and drainage; volume includes jurisdiction schedules.

Source URL: https://ncc.abcb.gov.au/editions/ncc-2022/adopted/volume-three

ABCB, NCC 2022 Volume Three Schedule 2 — Referenced documents

Role: Reference-edition pointer only; full Standards not inspected and project adoption must be checked.

Locator: AS/NZS 3500 Parts 1–4:2021 titles and NCC clause pointers by service type.

Source URL: https://ncc.abcb.gov.au/editions/ncc-2022/adopted/volume-three/2-referenced-documents/referenced-documents

ABCB, Editions of the National Construction Code

Role: Edition/adoption context; check actual jurisdiction, transition and project approvals.

Locator: NCC 2022 Amendment 2 adoption and edition transition notes.

Source URL: https://ncc.abcb.gov.au/editions-national-construction-code

Government of Western Australia, Building and Energy Industry Bulletin 133

Role: Topic guidance for sanitary test record linkage and pre-cover workflow in WA only. No test values or notification rules are generalized; check current local adoption and project criteria.

Locator: Two-page October 2020 bulletin: tests sanitary plumbing/drainage before trench fill, describes methods, repair and retesting; references AS/NZS 3500.2:2018.

Source URL: https://www.wa.gov.au/system/files/2024-10/industry_bulletin_133_-_sanitary_plumbing_and_sanitary_drainage_installation.pdf