# Structural Steel Bolting and Connection Inspection Record

Blank project field record  |  Complete from current approved documents and site observations

Scope

Included: Receipt/use traceability and installation records for structural bolted connections where included in the project steelwork package, in shop or on site.

Excluded: Connection design, selection of bolt assembly, default torque/tension/preload values, calibration certification beyond recording supplied evidence, and acceptance of methods not specified by the project.

Use and project setup

Project field: Project / package  ______________________________________________

Project field: Connection drawing / revision  ______________________________________________

Project field: Connection / grid / level  ______________________________________________

Project field: Fastener assembly / lot  ______________________________________________

Project field: Approved installation procedure  ______________________________________________

Project field: Tool / serial / calibration ref  ______________________________________________

Project field: Installer / verifier roles  ______________________________________________

Project field: NCR / retest reference  ______________________________________________

Before inspection: Approved connection schedule and details — Identifies connection mark, bolt assembly, layout, installation method and any project-defined verification.

Before inspection: Fastener specification and supplier batch documents — Defines required product/assembly identity and the traceability evidence required for the supplied lot.

Before inspection: Approved installation procedure — Supplies the actual specified assembly, tightening/installation sequence and verification method without assuming a universal approach.

Before inspection: Tool and equipment control records — Shows which tool was used and what project-required status/check or calibration evidence applies.

Before inspection: Project inspection, responsibility and notice schedule — Assigns who installs, records, verifies and authorizes any contractual hold/witness release.

How to use

1. Identify one connection mark or a clearly bounded connection group from the approved drawing. Do not merge connections with different assemblies or methods.

2. Record fastener assembly manufacturer/type/markings and supplier lot/batch as required; link the original package documents.

3. Confirm the approved installation procedure and its revision before work. Capture the actual method applied to the connection.

4. Record tool ID, relevant tool-check/calibration evidence and actual measurement or verification only where the project method requires it.

5. Record observable installation condition, exceptions and the assigned decision separately; a checked box is not proof of a measured result.

6. Use the repeat log for each connection and continue on a linked sheet if necessary; keep bolt-lot and tool records traceable to the connection.

Important: No torque, tension, turn-of-nut or other installation value is prefilled. Use only the approved project connection detail and method; record the actual method, tool and result required for the identified connection.

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

SBL-01 Connection identity and design reference

| What to observe | Connection mark, member marks, location, drawing detail/revision, connection schedule row and whether work is shop or site installation. |
| --- | --- |
| How to check | Locate the actual connection and compare its ID to the approved schedule and detail; resolve drawing revision conflicts before grouping results. |
| Acceptance basis | Each record identifies a single connection or expressly defined group under one current detail and provides a traceable reference for its assembly and inspection. |
| Reference to verify | Approved structural drawings, connection schedule, shop drawings and revision register; cite detail number, sheet and connection mark. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Connection mark / grid |  |
| Drawing detail / revision |  |
| Shop or site stage |  |
| Member marks / group boundary |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

SBL-02 Fastener assembly identity and lot

| What to observe | Fastener type/grade or designation, dimensions, associated components, manufacturer/pack marks and supplier lot/batch required by the specification. |
| --- | --- |
| How to check | Inspect packaging and actual assembly markings, compare to schedule and supplier batch documents, and preserve package/certificate references. |
| Acceptance basis | The installed assembly can be reconciled to the connection requirement and required lot evidence; any mixed or unidentified lot remains controlled and open. |
| Reference to verify | Project fastener specification, approved connection schedule, supplier certificate/package labels and material register; cite lot and applicable item. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Assembly designation / size |  |
| Manufacturer / pack mark |  |
| Supplier lot / batch |  |
| Certificate / docket ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

SBL-03 Storage and assembly condition

| What to observe | Condition of fasteners/components before use, separation from other lots, lubrication/coating or handling restrictions only as stated by project/manufacturer. |
| --- | --- |
| How to check | Observe actual packaging, storage and assembly condition; compare against project specification and product instructions, recording damage/contamination or mixing. |
| Acceptance basis | Fasteners remain identifiable and are handled within the cited project/product requirements; any condition concern is referred and not accepted by this blank record. |
| Reference to verify | Project handling/storage clause, supplier instructions and approved fastener submittal; cite document revision and affected lot. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Lot / storage location |  |
| Observed condition |  |
| Segregation / mixing check |  |
| Exception / evidence ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

SBL-04 Approved installation procedure and method

| What to observe | Procedure ID/revision, fastener assembly, installation method, sequence, required operator role and project-specified check method. |
| --- | --- |
| How to check | Review the approved project procedure for this exact connection; record the method actually used and compare with the documented sequence. |
| Acceptance basis | The actual method and assembly are those required by the approved project documents. Missing method, conflicting instructions or unapproved deviation is referred before closure. |
| Reference to verify | Approved bolting/connection procedure, connection detail, project ITP and supplier instructions where incorporated; cite exact revision/step. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Procedure ID / revision |  |
| Specified method / step |  |
| Actual method used |  |
| Deviation / instruction ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

SBL-05 Tool identity and readiness evidence

| What to observe | Installation tool type, unique asset/serial reference, tool-check or calibration evidence required for the method and date of use. |
| --- | --- |
| How to check | Observe the tool used and link it to its current project-required verification record; record the actual identifier, not a generic tool name alone. |
| Acceptance basis | The tool used is traceable to the project-required readiness evidence for the installation method and date; a missing status record remains open. |
| Reference to verify | Project tool-control procedure, approved installation method and equipment verification/calibration record; cite tool serial and certificate/check entry. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Tool type / serial |  |
| Date used / connection range |  |
| Calibration/check cert ref |  |
| Status / exception |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

SBL-06 Assembly and actual installation verification

| What to observe | Observed component arrangement, fit-up/contact condition, sequence completion, actual project-required measurement/check, unit and specified method. |
| --- | --- |
| How to check | Inspect the completed connection and perform or witness only the checks assigned by the project; record instrument/tool and actual value where required. |
| Acceptance basis | Observed assembly and any measured result satisfy the cited project criterion and method; no torque, tension or acceptance value is presumed by this template. |
| Reference to verify | Approved drawing, project fastener method and connection-specific acceptance/verification clause; cite actual clause/detail and record raw observation. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Assembly observation |  |
| Check method / instrument |  |
| Actual result / unit |  |
| Criterion / clause / status |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

SBL-07 Connection exceptions, recheck and handover

| What to observe | Missing/incorrect fastener, damage, altered connection, rework, repeat verification, NCR and project-assigned final review/release. |
| --- | --- |
| How to check | Identify the affected connection(s), preserve the first result, cross-link instruction/rework and subsequent checks, and carry open issues into handover. |
| Acceptance basis | Each exception has a traceable instruction and actual recheck evidence; closure/release is recorded by the role assigned in the contract, not inferred from form completion. |
| Reference to verify | Project NCR/rework process, approved engineering instruction, inspection schedule and connection dossier; cite NCR, recheck date and assigned role. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Connection / affected scope |  |
| NCR / instruction ref |  |
| Recheck actual result / unit |  |
| Handover / decision role |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Connection installation and verification log

Use one line per actual connection or per project-defined identical lot only when the approved procedure allows that grouping. Record the actual installation method, tool reference and project-required check. Leave result/status blank until the check occurs.

Project / contract: ______________________________    Element / pour / lot: ______________________________    Date / shift: ____________________

Location / area: ______________________________    Record reference / revision: ______________________________

| Date / work stage | Connection mark / location | Drawing detail / revision | Fastener lot / assembly ID | Approved procedure / revision | Actual installation method | Tool ID / check evidence ref | Actual verification / unit | Status / NCR / verifier role |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Issues and corrective action

Project: _____________________  Location / room / element: _____________________  Inspection date: _____________________

| Item / date | Issue and immediate action | Disposition / corrective instruction | Recheck evidence / date | Responsible role / reference |
| --- | --- | --- | --- | --- |

Unresolved items: identify affected area, status, person notified, instruction / NCR reference and any condition before concealment or next work.

Bolted connection inspection handover

Project: _____________________  Location / room / element: _____________________  Date: _____________________

Record inspection handover status

[  ] Record complete; source evidence linked

[  ] Issue, recheck or project decision remains open

[  ] Assigned project role review / disposition required

This record does not design or approve a connection, select installation values or replace the project fastener method and required verification. Handover and release authority must match the contract.

Handover roles and references

Recorder / inspector name and role / date  ______________________________________________

Assigned technical or project decision role / date  ______________________________________________

Supplier / fabricator contact if clarification is needed  ______________________________________________

Related register, report, NCR or instruction reference  ______________________________________________

Signatures record the named person’s stated role and entry only. They do not by themselves approve design, certify compliance, release a contractual control point or authorize the next activity.

Source notes

These references explain topic and record design. They do not supply universal project acceptance values. Confirm the contract documents, applicable jurisdiction and approved product/system before use.

Cavoren structural steel fabrication and erection baseline

Role: Scope/topic context only; not independent technical authority or project acceptance criteria.

Locator: Existing public baseline rows STE-02 to STE-16 for material certificates, weld documentation/inspection, fasteners, erection, traceability and closeout.

Source URL: https://itp.cavoren.net/templates/structural-steel/

Queensland Department of Transport and Main Roads, MRTS78 Fabrication of Structural Steelwork (November 2020 listing)

Role: Topic and process-interface guidance only. Do not transfer TMR project criteria, registered-supplier conditions, Hold Points, values, frequencies or role assignments to general building work. Check the actual adopted edition and amendments.

Locator: Current Category 2 listing identifies MRTS78 for fabrication of structural steelwork; MRTS278 is separately listed for supply of structural fasteners. TMR May 2026 amendment register describes MRTS78 suite changes including traceability and removal of structural-bolt provisions into MRTS278. The TMR technical specification is scoped to Queensland transport/bridge structures.

Source URL: https://www.tmr.qld.gov.au/business-industry/Technical-standards-publications/Specifications/2-Bridges-Marine-and-Structures

Queensland Department of Transport and Main Roads, Amendment Register (May 2026)

Role: Amendment summary only. The register does not replace the adopted technical specification and project annexures or supply universal building criteria.

Locator: MRTS78 Suite amendment entry: additional documentation for Hold Points 1 and 2, fabricator responsibility for material traceability, structural-bolt information moved to separate MRTS278, Hold Point order changes and welding-topic additions.

Source URL: https://www.tmr.qld.gov.au/RSS-Feeds/-/media/8A5A858423EA4B3CAEB558C6394B728C.ashx

Standards Australia, Australian Standards supporting the steel sector

Role: High-level scope reference only; project must identify adopted standards, amendments, construction category and contract criteria.

Locator: Public summary of AS/NZS 5131:2016 scope: fabrication including bolting/welding, corrosion-protection preparation/processes and site erection/modification. The standard text is not reproduced or used for clause-level criteria.

Source URL: https://www.standards.org.au/news/australian-standards-r-supporting-the-steel-sector

Steelwork Compliance Australia, compliance scheme overview

Role: Explains that scheme/certification status is project-specific. This blank site form does not certify fabricators, welding quality or product compliance.

Locator: Public overview describes the scheme as certification/audit for supply, fabrication and erection against project-specified AS/NZS 5131 and, where specified, AS/NZS ISO 3834; it identifies the engineer/project as choosing and specifying the construction category.

Source URL: https://www.scacompliance.com.au/