# Building Stormwater Drainage Inspection Record

Blank project field record  |  Complete from current approved documents and site observations

Scope

Included: Ordinary building surface/subsurface stormwater drainage within the project boundary, including identified lines, pits, inlets, connections and approved outlet interface.

Excluded: Stormwater network design or sizing, universal levels/gradients/test requirements, public authority mains, major civil flood systems and on-site detention design; industrial/process, sanitary, gas or fire networks unless separately scoped and sourced.

Use and project setup

Project field: Project / building / jurisdiction  ______________________________________________

Project field: Stormwater drawing / revision  ______________________________________________

Project field: Line / pit / inlet IDs  ______________________________________________

Project field: Design datum / outlet detail  ______________________________________________

Project field: Survey / as-built ref  ______________________________________________

Project field: Pre-cover notice / inspector  ______________________________________________

Project field: Test requirement / source if any  ______________________________________________

Project field: Defect / disposition refs  ______________________________________________

Before inspection: Approved stormwater plans, pit schedules and outlet details — Define design nodes, levels, pits, flow route, destination and current revision.

Before inspection: Project survey/setout criteria and level datum — Allows actual levels to be recorded and compared on the correct datum and against stated tolerances.

Before inspection: Authority, consent and point-of-connection documents — Define approved network interface or on-site discharge arrangement where applicable.

Before inspection: Project test/inspection and pre-cover schedule — States whether functional testing, notice, witness or release is required; no generic requirement is assumed.

Before inspection: As-built and defect-closeout process — Defines required survey file, markup, photographs, repair records and handover evidence.

How to use

1. Use the approved drainage drawing to identify line, pit, inlet, connection and terminal outlet. Keep design and actual surveyed data distinct.

2. Record actual levels with unit and datum, linked to the survey/setout evidence and project acceptance source.

3. Inspect pit/access and pipe interfaces while visible; record exact connection identity and check separation from sanitary drainage.

4. Confirm and record the designated connection or approved disposal point from project/authority evidence.

5. Record a test only where required. Link method and source; if none is specified, state the basis for N/A.

6. Before cover or surface closure, link required inspection, photos, survey and as-built records and project-assigned disposition.

Important: Stormwater requirements and authority interfaces vary by jurisdiction and project. No default test is assumed: perform and record a test only where the approved project or authority documents require one. Capture actual surveyed levels with datum and the designated discharge destination.

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

SW-01 Stormwater network identity and design setout

| What to observe | Line, pit and inlet IDs, contributing area/reference where scheduled, drawing revision, flow direction, design levels and outlet destination. |
| --- | --- |
| How to check | Trace each installed line and pit to the current approved drainage plan, pit schedule and level details; record measured/as-installed values separately from design values. |
| Acceptance basis | Network elements and flow path are traceable to approved project drawings, with actual measurements compared only against project criteria and units. |
| Reference to verify | Current approved project drawings, specification, adopted service standard and inspection/test plan; record exact document, revision, clause/detail and affected segment. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Line / pit / inlet ID |  |
| From–to node / outlet |  |
| Drawing / pit schedule revision |  |
| Design level / datum / source |  |
| Actual level / unit / survey ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

SW-BED Exposed trench, bedding and pipe support

| What to observe | Record trench condition, installed bedding and pipe support before they are concealed, where below-ground work is included. |
| --- | --- |
| How to check | Compare exposed work with the approved trench, bedding and embedment detail and relevant product instructions. Identify unstable formation, voids, debris, pipe movement and civil-work interfaces for project disposition. |
| Acceptance basis | Observed trench support, bedding and embedment correspond to the approved project detail. Material, thickness, cover and compaction requirements come from the actual applicable sources; this record supplies no default value. |
| Reference to verify | Enter approved drawing/detail and revision, applicable civil or geotechnical specification, and product installation instruction. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Drain run / inspection location |  |
| Drawing / bedding detail and revision |  |
| Formation condition / groundwater observation |  |
| Bedding material and evidence reference |  |
| Actual bedding / support observation or measurement and unit |  |
| Specified cover / surround criterion source |  |
| Civil interface / unresolved defect / reinspection reference |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

SW-02 Pits, inlets, grates and access condition

| What to observe | Pit type/mark, installed position and orientation, inlet/grate condition, cover level reference, access for maintenance and visible workmanship. |
| --- | --- |
| How to check | Compare installed pit and access arrangement with approved pit detail/schedule; record photo and level/survey references where required. |
| Acceptance basis | Pits, inlets and maintenance access match project-approved details; no size, level tolerance or grate load class is assumed by this record. |
| Reference to verify | Current approved project drawings, specification, adopted service standard and inspection/test plan; record exact document, revision, clause/detail and affected segment. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Pit / inlet mark |  |
| Approved pit detail / revision |  |
| Grate / cover identity |  |
| Access and clearance observation |  |
| Photo / level survey ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

SW-03 Pipe connections, transitions and separation

| What to observe | Pipe material/joint identity, pit entry/exit, connection seating, changes of direction/level, sealed interfaces and separation from sanitary drainage. |
| --- | --- |
| How to check | Inspect accessible interfaces and compare to approved connection details and service coordination drawings; trace suspected cross-connections to source and destination before disposition. |
| Acceptance basis | Connections and transitions follow approved project details; keep stormwater and sanitary systems separate; any proposed cross-system connection needs verified design and applicable authority approval. |
| Reference to verify | Current approved project drawings, specification, adopted service standard and inspection/test plan; record exact document, revision, clause/detail and affected segment. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Pipe / joint system |  |
| Pit entry / exit / connection IDs |  |
| Transition / detail reference |  |
| Sanitary separation observation |  |
| Issue / photo / instruction ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

SW-04 Designated point of connection or on-site outlet

| What to observe | Approved network connection, lawful/designated discharge point or approved on-site disposal arrangement, destination ID and any authority interface. |
| --- | --- |
| How to check | Trace installed discharge route to the approved project outlet and relevant consent/authority detail; record the actual terminal point, not an assumed discharge path. |
| Acceptance basis | The constructed route terminates at the project-designated point of connection or approved disposal system and required interface evidence is linked. |
| Reference to verify | Current approved project drawings, specification, adopted service standard and inspection/test plan; record exact document, revision, clause/detail and affected segment. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Outlet / point-of-connection ID |  |
| Approved outlet drawing / consent ref |  |
| Actual destination / receiving system |  |
| Authority interface record if applicable |  |
| Open issue / decision ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

SW-05 Specified test or functional evidence, conditional

| What to observe | Whether a test/functional demonstration is required, its project source, defined extent, actual method and result; visible obstruction, defect, repair or retest if encountered. |
| --- | --- |
| How to check | Only where specified, follow the current approved project/authority method and retain actual test evidence. If no test is specified, record N/A with the controlling scope basis rather than inventing one. |
| Acceptance basis | Any required test is assessed against its stated project criteria and linked to actual segment/pit results; no universal stormwater test or acceptance value is imposed. |
| Reference to verify | Current approved project drawings, specification, adopted service standard and inspection/test plan; record exact document, revision, clause/detail and affected segment. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Test required? / source |  |
| Test extent / method / revision |  |
| Actual observation / result and unit |  |
| Defect / blockage / repair ref |  |
| Retest / disposition record |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

SW-06 Pre-cover, levels and as-built closeout

| What to observe | Required exposed inspection, surveyed actual inverts/cover levels where required, pit and connection coordinates, photos, as-built markups, outstanding defects and release evidence. |
| --- | --- |
| How to check | Compare actual survey and installed network to current approved requirements; link inspection notice and project release decision before trench fill or surface closure where required. |
| Acceptance basis | Project-required pre-cover inspection, level records and as-built evidence are complete and traceable; this form does not create a universal hold point or level tolerance. |
| Reference to verify | Current approved project drawings, specification, adopted service standard and inspection/test plan; record exact document, revision, clause/detail and affected segment. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Pre-cover inspection / notice ref |  |
| Actual invert / cover levels and datum |  |
| Survey / setout file ref |  |
| As-built markup / photo refs |  |
| Release / outstanding disposition ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Stormwater segment, pit and outlet log

Use one line per identified segment, pit, inspection or project-required test event. Record design and measured levels with their datum/source. A test is conditional on actual project/authority requirements; leave entries blank until observed.

Project / contract: ______________________________    Element / pour / lot: ______________________________    Date / shift: ____________________

Location / area: ______________________________    Record reference / revision: ______________________________

| Date / stage | Line / pit / inlet ID | From–to / outlet | Drawing / revision | Design level / datum | Actual level / unit / survey ref | Connection / access observation | Test / defect / as-built evidence ref | Recorder / status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Issues and corrective action

Project: _____________________  Location / room / element: _____________________  Inspection date: _____________________

| Item / date | Issue and immediate action | Disposition / corrective instruction | Recheck evidence / date | Responsible role / reference |
| --- | --- | --- | --- | --- |

Unresolved items: identify affected area, status, person notified, instruction / NCR reference and any condition before concealment or next work.

Stormwater drainage handover

Project: _____________________  Location / room / element: _____________________  Date: _____________________

Record inspection handover status

[  ] Record complete; source evidence linked

[  ] Issue, repair, retest or project decision remains open

[  ] Assigned project role review / disposition required

This record links observed installation and project evidence. It does not design drainage, establish lawful discharge, certify compliance or grant a contractual release.

Handover roles and references

Installer / assigned trade role and date  ______________________________________________

Field inspector / role / date  ______________________________________________

Surveyor / as-built evidence role and reference  ______________________________________________

Authority / project release role and decision ref if applicable  ______________________________________________

Signatures record the named person’s stated role and entry only. They do not by themselves approve design, certify compliance, release a contractual control point or authorize the next activity.

Source notes

These references explain topic and record design. They do not supply universal project acceptance values. Confirm the contract documents, applicable jurisdiction and approved product/system before use.

ABCB, NCC 2022 Volume Three — Plumbing Code of Australia

Role: Official scope and jurisdictional topic framework; does not provide project-specific field test acceptance values.

Locator: Section B water services and Section C sanitary plumbing and drainage; volume includes jurisdiction schedules.

Source URL: https://ncc.abcb.gov.au/editions/ncc-2022/adopted/volume-three

ABCB, NCC 2022 Volume Three Schedule 2 — Referenced documents

Role: Reference-edition pointer only; full Standards not inspected and project adoption must be checked.

Locator: AS/NZS 3500 Parts 1–4:2021 titles and NCC clause pointers by service type.

Source URL: https://ncc.abcb.gov.au/editions/ncc-2022/adopted/volume-three/2-referenced-documents/referenced-documents

ABCB, Editions of the National Construction Code

Role: Edition/adoption context; check actual jurisdiction, transition and project approvals.

Locator: NCC 2022 Amendment 2 adoption and edition transition notes.

Source URL: https://ncc.abcb.gov.au/editions-national-construction-code

ABCB, NCC 2022 Volume Three — Victoria Part E4 Stormwater, Surface and Sub-surface Drainage Systems

Role: Jurisdiction-specific topic support for access/outlet fields only; verify current local variation and project/authority criteria. No universal test is inferred.

Locator: Victoria-specific E4 includes maintenance access and transfer of stormwater to a point of connection; points to AS/NZS 3500.3 for covered systems.

Source URL: https://ncc.abcb.gov.au/editions/ncc-2022/adopted/volume-three/e-facilities-and-ancillary-additions/vic-part-e4-stormwater-surface-and-sub-surface-drainage-systems

Victoria Building and Plumbing Commission, DR 07 Bedding site stormwater drains

Role: Victoria-specific topic guidance. Overview inspected; project material and dimensional criteria are not derived from it. Verify applicable jurisdiction and adopted requirements.

Locator: Practice-note overview and version history: published 13 March 2024; bedding, embedment, backfill, grade and cover topics. Checked 7 October 2026.

Source URL: https://www.bpc.vic.gov.au/resource-hub/practice-notes/dr-07-bedding-site-stormwater-drains