# Utility Trench Bedding, Surround and Backfill Inspection and Test Plan Template

Reusable baseline for ordinary utility trench earthworks from clearance and formation through bedding, pre-cover inspection, surround, backfill, specified earthworks verification and handover. Excludes structural trench support design, deep excavation engineering, pipe-system pressure/leak testing, commissioning, disinfection and utility-owner operational acceptance.

| Project | [Enter project / state / parties] |
| --- | --- |
| Package | trench-backfill |
| Document / revision | [Enter controlled number and revision] |
| Issue purpose | For review - proposed editable baseline |
| Boundary | Complete against project documents; remove out-of-scope activities. |

# Read before use

This is a reusable proposed baseline, not an approved project plan or completed inspection record.

Enter actual acceptance criteria, source revisions/locators, lot basis, frequency, roles and contractual control points from the project. No numeric limit, test result, qualification, signature or client release has been supplied.

Confirm scope and remove or mark conditional rows that do not apply. Resolve missing or conflicting decisions with the assigned project authority.

Complete the matching blank Record Prompts only when actual work occurs; retain source certificates and original specialist reports.

# Project inputs to resolve

Project jurisdiction / authority context: [Enter project source / decision] State or territory and any authority or contract scope that governs the work.

Approved civil / services drawings and revisions: [Enter project source / decision] Identify controlled plans, sections, set-out details, levels and applicable drawing items.

Project earthworks specification and adopted standards: [Enter project source / decision] Identify contract clauses, adopted editions, annexures and precedence.

Geotechnical design basis and disposition roles: [Enter project source / decision] Identify the report, design zones and who provides any specified founding or changed-ground disposition.

Material source, classification and use schedule: [Enter project source / decision] Identify approved source, permitted use and project material criteria; do not infer a class.

Project testing, lotting and reporting plan: [Enter project source / decision] Enter nominated methods, test locations, lot definition, rate, acceptance and laboratory role.

Survey control, geometry and closeout requirements: [Enter project source / decision] Identify control, design geometry, tolerances, as-built format and responsible survey role.

Service clearance and permit process: [Enter project source / decision] Identify current service information, locating, protection and permit requirements.

Service and work-package interfaces: [Enter project source / decision] Identify exact trench, building, pavement or service boundaries and owner handover/testing responsibilities.

Performing, reviewing and contractual release roles: [Enter project source / decision] Identify assigned roles, notice period, evidence, and contractual Hold/Witness or release conditions.

Project records and handover requirements: [Enter project source / decision] Identify required registers, reports, photos, dispositions and handover submission.

# Inspection and Test Plan

Proposed baseline. Replace prompts with controlled project criteria and references before project review.

## UTB-01 · Trench package, service information and approvals

| Inspection / test | Confirm pipe/service identity, route, trench zones, interfaces, bedding/surround/backfill requirements and project test/handover basis. |
| --- | --- |
| Method | Review approved service drawings, specifications, utility owner information, installation instructions and project responsibilities; identify commissioning/testing as an interface only. |
| Acceptance condition | Current controlled documents define the included trench extent, service system and zone-specific requirements; unknown technical criteria and interfaces are logged for project decision. [Enter Approved civil / services drawings and revisions] [Enter Project earthworks specification and adopted standards] [Enter Service and work-package interfaces] [Enter Performing, reviewing and contractual release roles] |
| Reference / locator | Topic guidance only; see Source Register. Enter the actual project document, revision and locator. |
| Trigger / frequency | Before excavation and when route, service system or controlled documents change. |
| Responsibility | Proposed: assigned earthworks supervisor / quality role performs and records; project-assigned reviewer acts only within documented authority. Confirm project roles: [Enter Performing, reviewing and contractual release roles]. |
| Point / external party | TBC; Proposed: [Enter project-assigned reviewing / release authority] |
| Notice / release | Proposed: Confirm project notice recipient, evidence, timing and release authority; no external control point is assigned. |
| Record | Utility trench work-front register |
| Applicability / remarks | Ordinary utility trench earthworks and pipe-zone backfill only; excludes structural trench support design and service-system testing/commissioning. Proposed baseline. Confirm applicability and replace with controlled project requirement. |

## UTB-02 · Service locating, excavation permit and work-front clearance

| Inspection / test | Verify applicable utility searches, locating marks, permits and protection arrangements at the planned trench section. |
| --- | --- |
| Method | Review current plans and permit/clearance records; check field marks and service owner instructions are identifiable at the trench location. |
| Acceptance condition | Clearance and permits required by the project are current for this section; discrepancies or unknown services are referred before affected excavation proceeds. [Enter Service clearance and permit process] [Enter Approved civil / services drawings and revisions] |
| Reference / locator | Topic guidance only; see Source Register. Enter the actual project document, revision and locator. |
| Trigger / frequency | Before each trench section is opened and after route/condition changes. |
| Responsibility | Proposed: assigned earthworks supervisor / quality role performs and records; project-assigned reviewer acts only within documented authority. Confirm project roles: [Enter Performing, reviewing and contractual release roles]. |
| Point / external party | TBC; Proposed: [Enter project-assigned reviewing / release authority] |
| Notice / release | Proposed: Confirm project notice recipient, evidence, timing and release authority; no external control point is assigned. |
| Record | Trench clearance and permit record |
| Applicability / remarks | Includes service information and excavation clearance only; this record does not design temporary support. Proposed baseline. Confirm applicability and replace with controlled project requirement. |

## UTB-03 · Trench excavation, bottom condition and water

| Inspection / test | Inspect the excavated section and bedding formation against the documented profile and record encountered ground/water. |
| --- | --- |
| Method | Compare location, alignment, depth/profile evidence and bottom condition with approved service drawings and specified geotechnical/installation criteria; refer deviations. |
| Acceptance condition | Dimensions and bottom condition match the project source; water, instability, obstruction or unsuitable founding receives written disposition before bedding or pipe placement. [Enter Approved civil / services drawings and revisions] [Enter Geotechnical design basis and disposition roles] [Enter Project earthworks specification and adopted standards] |
| Reference / locator | Topic guidance only; see Source Register. Enter the actual project document, revision and locator. |
| Trigger / frequency | Each section before bedding; recheck after disturbance, water ingress or changed ground. |
| Responsibility | Proposed: assigned earthworks supervisor / quality role performs and records; project-assigned reviewer acts only within documented authority. Confirm project roles: [Enter Performing, reviewing and contractual release roles]. |
| Point / external party | TBC; Proposed: [Enter project-assigned reviewing / release authority] |
| Notice / release | Proposed: Confirm project notice recipient, evidence, timing and release authority; no external control point is assigned. |
| Record | Trench excavation and formation record |
| Applicability / remarks | Include only for work shown in this package scope. Proposed baseline. Confirm applicability and replace with controlled project requirement. |

## UTB-04 · Bedding and foundation material approval

| Inspection / test | Verify bedding material identity and source against the project-specified pipe-zone material requirements. |
| --- | --- |
| Method | Review source/delivery documentation and compare material description or required test evidence with the approved material schedule and pipe-system documents. |
| Acceptance condition | Material is traceable to the project-approved bedding requirement and intended service/zone; unsuitable or unidentified delivery is held for project disposition. [Enter Material source, classification and use schedule] [Enter Project earthworks specification and adopted standards] [Enter Service and work-package interfaces] |
| Reference / locator | Topic guidance only; see Source Register. Enter the actual project document, revision and locator. |
| Trigger / frequency | Before first use of each source/material and for each delivery group as project criteria require. |
| Responsibility | Proposed: assigned earthworks supervisor / quality role performs and records; project-assigned reviewer acts only within documented authority. Confirm project roles: [Enter Performing, reviewing and contractual release roles]. |
| Point / external party | TBC; Proposed: [Enter project-assigned reviewing / release authority] |
| Notice / release | Proposed: Confirm project notice recipient, evidence, timing and release authority; no external control point is assigned. |
| Record | Bedding material receipt record |
| Applicability / remarks | Include only for work shown in this package scope. Proposed baseline. Confirm applicability and replace with controlled project requirement. |

## UTB-05 · Bedding placement, grade and bearing interface

| Inspection / test | Check bedding placement and prepared support/grade before the service component is installed. |
| --- | --- |
| Method | Observe preparation, material placement and grade evidence; compare with the identified drawing, specification and manufacturer/project installation detail. |
| Acceptance condition | Support, grade and contact arrangement meet the specific project and system documents; dimensions or tolerances are entered only from those documents. [Enter Approved civil / services drawings and revisions] [Enter Project earthworks specification and adopted standards] [Enter Service and work-package interfaces] |
| Reference / locator | Topic guidance only; see Source Register. Enter the actual project document, revision and locator. |
| Trigger / frequency | Each trench section before pipe or service installation; recheck any disturbed section. |
| Responsibility | Proposed: assigned earthworks supervisor / quality role performs and records; project-assigned reviewer acts only within documented authority. Confirm project roles: [Enter Performing, reviewing and contractual release roles]. |
| Point / external party | TBC; Proposed: [Enter project-assigned reviewing / release authority] |
| Notice / release | Proposed: Confirm project notice recipient, evidence, timing and release authority; no external control point is assigned. |
| Record | Bedding pre-installation inspection |
| Applicability / remarks | Include only for work shown in this package scope. Proposed baseline. Confirm applicability and replace with controlled project requirement. |

## UTB-06 · Installed service position and pre-cover inspection

| Inspection / test | Record visible service identity, alignment, joints/supports and required pre-cover evidence at the open trench interface. |
| --- | --- |
| Method | Inspect against approved service drawings and installation documents; capture required photographs, survey or specialist inspection references before surround conceals the installation. |
| Acceptance condition | Installed work and required evidence match the cited project/system requirements; defects or missing inspection evidence remain open before concealment. System commissioning and pressure/leak testing are outside this package. [Enter Approved civil / services drawings and revisions] [Enter Project earthworks specification and adopted standards] [Enter Service and work-package interfaces] [Enter Project records and handover requirements] |
| Reference / locator | Topic guidance only; see Source Register. Enter the actual project document, revision and locator. |
| Trigger / frequency | Each defined section before surround or other concealment. |
| Responsibility | Proposed: assigned earthworks supervisor / quality role performs and records; project-assigned reviewer acts only within documented authority. Confirm project roles: [Enter Performing, reviewing and contractual release roles]. |
| Point / external party | TBC; Proposed: [Enter project-assigned reviewing / release authority] |
| Notice / release | Proposed: Confirm project notice recipient, evidence, timing and release authority; no external control point is assigned. |
| Record | Open-trench pre-cover record |
| Applicability / remarks | Include only for work shown in this package scope. Proposed baseline. Confirm applicability and replace with controlled project requirement. |

## UTB-07 · Haunch and surround placement

| Inspection / test | Inspect selected surround material, placement and support around the service before general backfill. |
| --- | --- |
| Method | Compare zone material/dimensions and placement sequence with the project detail and installation requirements; observe for displacement or damage. |
| Acceptance condition | Surround material, extent and placement follow the project-defined pipe-zone detail; service remains in required position and any disturbance is corrected and re-inspected. [Enter Approved civil / services drawings and revisions] [Enter Material source, classification and use schedule] [Enter Project earthworks specification and adopted standards] [Enter Service and work-package interfaces] |
| Reference / locator | Topic guidance only; see Source Register. Enter the actual project document, revision and locator. |
| Trigger / frequency | Each section before advancing above the specified surround zone. |
| Responsibility | Proposed: assigned earthworks supervisor / quality role performs and records; project-assigned reviewer acts only within documented authority. Confirm project roles: [Enter Performing, reviewing and contractual release roles]. |
| Point / external party | TBC; Proposed: [Enter project-assigned reviewing / release authority] |
| Notice / release | Proposed: Confirm project notice recipient, evidence, timing and release authority; no external control point is assigned. |
| Record | Service surround inspection |
| Applicability / remarks | Include only for work shown in this package scope. Proposed baseline. Confirm applicability and replace with controlled project requirement. |

## UTB-08 · Backfill above pipe zone and reinstatement build-up

| Inspection / test | Check accepted backfill material, staged placement and protection of the installed service through the remaining trench depth. |
| --- | --- |
| Method | Trace delivered material to project use requirements; observe the documented placement method and specified verification stages; coordinate interfaces for surface reinstatement. |
| Acceptance condition | Backfill material and sequence match project drawings/specification; specified verification is completed at the stated project trigger; any damage, settlement or open test is recorded and referred. [Enter Material source, classification and use schedule] [Enter Project earthworks specification and adopted standards] [Enter Project testing, lotting and reporting plan] [Enter Service and work-package interfaces] |
| Reference / locator | Topic guidance only; see Source Register. Enter the actual project document, revision and locator. |
| Trigger / frequency | Each defined backfill stage before it is covered by the next stage; use project lot/test basis. |
| Responsibility | Proposed: assigned earthworks supervisor / quality role performs and records; project-assigned reviewer acts only within documented authority. Confirm project roles: [Enter Performing, reviewing and contractual release roles]. |
| Point / external party | TBC; Proposed: [Enter project-assigned reviewing / release authority] |
| Notice / release | Proposed: Confirm project notice recipient, evidence, timing and release authority; no external control point is assigned. |
| Record | Trench backfill stage log |
| Applicability / remarks | Include only for work shown in this package scope. Proposed baseline. Confirm applicability and replace with controlled project requirement. |

## UTB-09 · Trench testing, defects, survey and handover

| Inspection / test | Close the trench section by reconciling specified earthworks tests, final location/level evidence, reinstatement and records. |
| --- | --- |
| Method | Review test reports and lot coverage against the project plan; verify survey/as-built files, defect/disposition register and handover index for the same section. |
| Acceptance condition | Specified earthworks/backfill evidence and location records are complete to project requirements; outstanding failures or interfaces have written disposition before closeout. Pipe-system commissioning or operational acceptance is by the separately assigned package. [Enter Project testing, lotting and reporting plan] [Enter Survey control, geometry and closeout requirements] [Enter Project records and handover requirements] [Enter Performing, reviewing and contractual release roles] |
| Reference / locator | Topic guidance only; see Source Register. Enter the actual project document, revision and locator. |
| Trigger / frequency | At section completion before package handover and before records are closed. |
| Responsibility | Proposed: assigned earthworks supervisor / quality role performs and records; project-assigned reviewer acts only within documented authority. Confirm project roles: [Enter Performing, reviewing and contractual release roles]. |
| Point / external party | TBC; Proposed: [Enter project-assigned reviewing / release authority] |
| Notice / release | Proposed: Confirm project notice recipient, evidence, timing and release authority; no external control point is assigned. |
| Record | Trench section closeout register |
| Applicability / remarks | Include only for work shown in this package scope. Proposed baseline. Confirm applicability and replace with controlled project requirement. |

# Blank matching record prompts

Complete the actual date, observation, result and responsible roles during the work. Blank cells are intentional; this template contains no completed inspection or approval.

## UTB-01 · Trench package, service information and approvals

| Field | Actual entry / evidence |
| --- | --- |
| Service / system / line ID |  |
| Route / drawing locator |  |
| Spec / drawing revisions |  |
| Open interface decision ref. |  |
| Date / location / lot |  |
| Actual observation / result / unit |  |
| Original evidence / report reference |  |
| Disposition / corrective action / recheck |  |
| Performed by / date |  |
| Reviewed / decision reference |  |

## UTB-02 · Service locating, excavation permit and work-front clearance

| Field | Actual entry / evidence |
| --- | --- |
| Section / chainage |  |
| Service owner / located service |  |
| Permit / clearance ref. |  |
| Field mark / photo ref. |  |
| Date / location / lot |  |
| Actual observation / result / unit |  |
| Original evidence / report reference |  |
| Disposition / corrective action / recheck |  |
| Performed by / date |  |
| Reviewed / decision reference |  |

## UTB-03 · Trench excavation, bottom condition and water

| Field | Actual entry / evidence |
| --- | --- |
| Section / location |  |
| Drawing / profile locator |  |
| Bottom / water observation |  |
| Instruction / reinspection ref. |  |
| Date / location / lot |  |
| Actual observation / result / unit |  |
| Original evidence / report reference |  |
| Disposition / corrective action / recheck |  |
| Performed by / date |  |
| Reviewed / decision reference |  |

## UTB-04 · Bedding and foundation material approval

| Field | Actual entry / evidence |
| --- | --- |
| Docket / delivery ID |  |
| Material description / source |  |
| Service / trench zone |  |
| Approval / report ref. |  |
| Date / location / lot |  |
| Actual observation / result / unit |  |
| Original evidence / report reference |  |
| Disposition / corrective action / recheck |  |
| Performed by / date |  |
| Reviewed / decision reference |  |

## UTB-05 · Bedding placement, grade and bearing interface

| Field | Actual entry / evidence |
| --- | --- |
| Section / location |  |
| Observed grade / method / unit |  |
| Drawing / installation detail locator |  |
| Support / contact observation |  |
| Date / location / lot |  |
| Actual observation / result / unit |  |
| Original evidence / report reference |  |
| Disposition / corrective action / recheck |  |
| Performed by / date |  |
| Reviewed / decision reference |  |

## UTB-06 · Installed service position and pre-cover inspection

| Field | Actual entry / evidence |
| --- | --- |
| Line / component ID |  |
| Section / location |  |
| Inspection / survey / photo ref. |  |
| Defect / disposition ref. |  |
| Date / location / lot |  |
| Actual observation / result / unit |  |
| Original evidence / report reference |  |
| Disposition / corrective action / recheck |  |
| Performed by / date |  |
| Reviewed / decision reference |  |

## UTB-07 · Haunch and surround placement

| Field | Actual entry / evidence |
| --- | --- |
| Section / line ID |  |
| Zone limits / drawing locator |  |
| Surround material / delivery ref. |  |
| Observed position / survey ref. |  |
| Date / location / lot |  |
| Actual observation / result / unit |  |
| Original evidence / report reference |  |
| Disposition / corrective action / recheck |  |
| Performed by / date |  |
| Reviewed / decision reference |  |

## UTB-08 · Backfill above pipe zone and reinstatement build-up

| Field | Actual entry / evidence |
| --- | --- |
| Section / lift or stage |  |
| Material / source ID |  |
| Specified test / report ref. |  |
| Surface reinstatement interface |  |
| Date / location / lot |  |
| Actual observation / result / unit |  |
| Original evidence / report reference |  |
| Disposition / corrective action / recheck |  |
| Performed by / date |  |
| Reviewed / decision reference |  |

## UTB-09 · Trench testing, defects, survey and handover

| Field | Actual entry / evidence |
| --- | --- |
| Section / line ID |  |
| Test method / report / lot refs. |  |
| As-built location / level ref. |  |
| Defect / disposition / interface ref. |  |
| Handover index / recipient ref. |  |
| Date / location / lot |  |
| Actual observation / result / unit |  |
| Original evidence / report reference |  |
| Disposition / corrective action / recheck |  |
| Performed by / date |  |
| Reviewed / decision reference |  |

# Topic guidance sources and limitations

## Queensland Department of Transport and Main Roads, MRTS04 General Earthworks (March 2025)

Inspected official PDF and local searchable extract industry-library/text/tmr-mrts04.txt. Topic locators: 1.1-1.2 scope (printed specification pp. 1-2); 5.2-5.6 procedures, testing/lotting (printed pp. 15-19); 6 geometry (printed pp. 19-20); 8 topsoil (printed pp. 22-24); 9 unsuitable material (printed pp. 25-26); 13 excavation (printed pp. 34-38); 14 Earth Fill (printed pp. 38-47); 15 Compaction (printed pp. 48-53); 19 Backfill (printed pp. 67-74).

https://www.tmr.qld.gov.au/-/media/busind/techstdpubs/Specifications-and-drawings/Specifications/3-Roadworks-Drainage-Culverts-and-Geotechnical/MRTS04.pdf

Inspected topic example for Queensland road and bridge earthworks only. Supports identification of process topics, documentary controls, materials, geometry, excavation, fill, compaction, backfill and the fact that lot/test rules are specified. Its technical values, tests, frequencies, lot sizes, control points and roles are not defaults; use only if the project contract adopts this edition and applicable annexures.

## Hutchinson Builders, Safety & Quality Planning: 010 Groundworks ITP and Report (EXAMPLE)

Official downloads page lists 010 Groundworks ITP and 010 Groundworks Report; both DOCX files downloaded and text-extracted 2026-10-07 from the linked Toolbox files. ITP table rows 3-11 cover bulk set-out, fill source, excavation, fill operations, bottom/surface preparation, compaction/soil-strength records and final inspection; rows 12-25 cover detailed earthworks, trench/pit bottoms, bedding/blinding, backfill, regulatory records and closeout. Matching report table rows 2-4 capture lot/location/open-close/comments/signature; rows 8-32 carry process, specification, acceptance, pass/fail, CAR, initials and date.

https://subbies.hutchies.com.au/resources/videos/safety-and-quality-planning

Builder example marked EXAMPLE; used only to check broad staging and useful lot/report fields. Many acceptance/frequency/role cells are blank. It does not set universal criteria, regulatory steps or release authority. Original DOCX files are not redistributed.

## Construction Quality Australia, How to create an Inspection and Test Plan

Official industry guide, sections 1-4, previously inspected and summarized in skills/au-construction-itp/references/template-writing-guide.md.

https://www.cqa.org.au/post/guide-how-to-create-an-inspection-and-test-plan-itp

Method structure only: sequence checkable activities and specify method, acceptance source, trigger/frequency, responsibility, control and records. Does not substantiate earthworks technical limits or project requirements.

Topic guidance is provided for orientation only. Confirm applicable jurisdictional adoption, approved design and contract requirements. No cited source substitutes for the complete controlled project documents or licensed standards.