# Utility Trench Bedding, Backfill and Cover Record

Blank project field record  |  Complete from current approved documents and site observations

Scope

Included: Inspection of an identified utility trench reach from prepared support through staged bedding/surround, backfill layers and cover handover, including service identity, layer and lot traceability, compaction-report links, pipe/conduit protection, separation and as-built evidence.

Excluded: utility design, trench shoring/excavation safety design, pipe pressure/leak/CCTV/continuity testing, commissioning or certification, and compaction acceptance testing except for linking separate approved test evidence.

Use and project setup

Project field: Project / jurisdiction / contractor  ______________________________________________

Project field: Utility type / asset owner  ______________________________________________

Project field: Drawing / revision / profile ref  ______________________________________________

Project field: Reach ID / from-to chainage or nodes  ______________________________________________

Project field: Pipe / conduit material / size / joint system  ______________________________________________

Project field: Bedding / surround material source ref  ______________________________________________

Project field: Crossing / separation / protection detail  ______________________________________________

Project field: Cover measurement location / unit / source  ______________________________________________

Project field: Test / survey / photo / as-built refs  ______________________________________________

Project field: Pre-cover notice / issue / disposition refs  ______________________________________________

Before inspection: Approved utility plans, profiles and details — Identify each reach, material/size, design levels, crossings, protection and required cover source.

Before inspection: Utility owner and project installation requirements — Confirm service-specific bedding/surround, separation, cover and inspection expectations.

Before inspection: Approved product and material submittals — Identify installed pipe/conduit and specified embedment/backfill products.

Before inspection: Trench work method and temporary works controls — Coordinate inspection access with the project excavation and temporary support arrangements; this form is not a safety inspection or design.

Before inspection: Pre-cover inspection and testing schedule — Identify required notice, witness, release, tests and responsible project/asset-owner role.

Before inspection: As-built survey and defect process — Define required location/cover records, photos, repair disposition and transfer to asset records.

How to use

1. Use a separate record for each defined reach or project inspection lot; identify service and endpoints before recording checks.

2. Inspect and record the visible work stage before it is concealed; locate photos and measurements to the reach and point.

3. Record actual materials and observed cover/support separately from the design requirement and its source.

4. Link separate pipe test or compaction reports by their identifiers; do not treat this sheet as those test certificates.

5. Record unresolved protection, clearance, damage, missing test or notice evidence as open before backfill/cover handover.

Important: Blank field record. Confirm service-specific material, support, cover, separation and inspection requirements from approved project documents. This record does not certify pipe testing, shoring safety or utility design, and does not create a statutory or contractual release.

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

TB-01 Reach identity, service and approved detail

| What to observe | Service type, asset owner, reach endpoints, drawing/profile revision, material/size and installation stage. |
| --- | --- |
| How to check | Trace the installed reach between visible endpoints to approved plans and asset schedule before inspection entries are made. |
| Acceptance basis | The recorded segment and service are uniquely identifiable to current approved documents and the actual inspection extent. |
| Reference to verify | Current utility plan/profile, approved material schedule and inspection lot definition. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Utility / reach / endpoints |  |
| Drawing revision / detail |  |
| Asset owner / interface party |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

TB-02 Prepared trench support and bedding

| What to observe | Observed trench bottom/support condition, water or loose material, bedding material/source and installed geometry where observable. |
| --- | --- |
| How to check | Inspect the exposed reach and link material delivery/source and level/setting evidence; record project-required detail and actual observation separately. |
| Acceptance basis | Support and bedding are checked only against the service-specific approved drawing/specification and documented site evidence; no universal depth/thickness is set. |
| Reference to verify | Utility installation detail, material submittal, project specification and geotechnical/groundwater direction if applicable. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Support condition |  |
| Bedding material / source |  |
| Level / photo ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

TB-03 Pipe/conduit condition, alignment and joint protection

| What to observe | Visible damage, joint position, line/level or alignment observations, temporary caps/protection and handling condition before surround. |
| --- | --- |
| How to check | Observe before concealment, locate each finding and record actual measurement only where an approved reference and method are identified. |
| Acceptance basis | Installed reach remains traceable and observable condition is compared with approved utility requirements; this is not a pressure, leak or continuity test. |
| Reference to verify | Approved utility drawings, product installation instructions and actual pre-cover observation records. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Joint / point / location |  |
| Alignment / damage |  |
| Measurement / unit |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

TB-04 Surround, haunch and service separation

| What to observe | Specified surround material and extent, observed placement around service, other services/crossings and required protection/slabs/markers. |
| --- | --- |
| How to check | Check visible installation against approved cross-section and crossing details; link photos and survey before cover blocks sight of interfaces. |
| Acceptance basis | Surround, separation and protective measures match the project detail and current asset-owner requirements; no generic clearance or cover value is implied. |
| Reference to verify | Approved cross-sections, service coordination drawings, asset-owner requirements and product installation detail. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Material / source |  |
| Crossing / location |  |
| Separation observation |  |
| Protection detail / photo |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

TB-05 Staged backfill, cover and reinstatement evidence

| What to observe | Backfill material/source by stage, lot/layer identity, specified and actual layer thickness/placement where required, actual cover point and unit, final surface condition and separate compaction evidence. |
| --- | --- |
| How to check | Record each staged placement against the project lot/layer definition, method and drawing; transcribe actual thickness and cover only from observed or surveyed evidence with units and locations. Link separate compaction reports and assigned review; retain final surface/as-built evidence. |
| Acceptance basis | The represented lot/layer, placement, cover and final surface evidence are traceable and compared only with applicable project criteria. Layer thickness, cover, compaction result and acceptance remain project-defined. Compaction requires a separate approved test record and assigned review. |
| Reference to verify | Project profile/detail and layer/cover criteria, material records, placement log, separate compaction reports and assigned review, survey and as-built requirements. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Backfill material / source |  |
| Lot / layer / placement stage |  |
| Layer thickness / unit / point |  |
| Cover point / location |  |
| Actual cover / unit |  |
| Criterion source / clause |  |
| Compaction report / review ref |  |
| Final surface / as-built ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Inspection record

Project: _____________________  Location / room / element: _____________________  Lot / area: _____________________

TB-06 Pre-cover testing, notice and reach handover

| What to observe | Required separate service tests, inspection notice, witness/release documentation, photos, repairs and as-built references. |
| --- | --- |
| How to check | Index each independent test/report and inspection record by reach; reconcile open issues and notice conditions with the contract/asset-owner schedule. |
| Acceptance basis | This record documents links and status only. It does not certify pipe tests, shoring, design, statutory inspections or grant a contractual release. |
| Reference to verify | Project inspection and test plan, utility-owner procedures, notice schedule, as-built and NCR requirements. |
| Project criterion / actual approved document and revision | ______________________________________________________________ |

| Record field | Actual value / reference |
| --- | --- |
| Test report / ID |  |
| Notice / release role |  |
| Repair / disposition |  |
| As-built / survey ref |  |
| Result / status (Pass / Fail / N/A / Pending) |  |
| Inspector name / role / date |  |
| Evidence / photo / report ref |  |
| Issue / disposition / recheck evidence and date |  |

Utility trench reach, cover and pre-cover log

Use one row per reach or inspection stage. Keep design details separate from actual observations and measurements. Link each lot/layer placement to separate utility test and compaction reports; this log is not a certification or release.

Project / contract: ______________________________    Element / pour / lot: ______________________________    Date / shift: ____________________

Location / area: ______________________________    Record reference / revision: ______________________________

| Date / stage | Utility / owner | Reach / location | Drawing / detail revision | Lot / layer / stage | Material / source / thickness | Joint / protection / crossing | Cover / value / unit / point | Test / compaction / survey ref | Issue / notice / role / status |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Issues and corrective action

Project: _____________________  Location / room / element: _____________________  Inspection date: _____________________

| Item / date | Issue and immediate action | Disposition / corrective instruction | Recheck evidence / date | Responsible role / reference |
| --- | --- | --- | --- | --- |

Unresolved items: identify affected area, status, person notified, instruction / NCR reference and any condition before concealment or next work.

Utility reach pre-cover handover

Project: _____________________  Location / room / element: _____________________  Date: _____________________

Record reach status

[  ] Inspection evidence linked; project handover recorded

[  ] Repair, separate test, cover or as-built item remains open

[  ] Asset-owner/project decision or notice evidence required

This record logs visible installation and evidence references only. It does not certify a pipe test, approve utility design, assess shoring, establish universal cover/separation criteria or grant statutory/contractual release.

Handover roles and references

Installer / utility role / reach and date  ______________________________________________

Field inspector / role / pre-cover evidence ref  ______________________________________________

Separate pipe-test report / issuing party / reference  ______________________________________________

Assigned asset-owner/project reviewer / notice or decision ref  ______________________________________________

Open repair / NCR / survey / as-built references  ______________________________________________

Signatures record the named person’s stated role and entry only. They do not by themselves approve design, certify compliance, release a contractual control point or authorize the next activity.

Source notes

These references explain topic and record design. They do not supply universal project acceptance values. Confirm the contract documents, applicable jurisdiction and approved product/system before use.

Cavoren earthworks baseline

Role: Scope context only; not a project specification, design or acceptance criteria.

Locator: Original reusable topic baseline for earthworks field records; process and evidence prompts only.

Source URL: https://itp.cavoren.net/templates/bulk-earthworks/

Queensland Department of Transport and Main Roads, MRTS04 General Earthworks (March 2025)

Role: Conditional topic reference for Queensland roadworks/bridgeworks where this edition is adopted. No numeric compaction target, layer thickness, test rate, tolerance, test method or hold/witness point from MRTS04 is generalized into this form.

Locator: March 2025, Clauses 1.1–1.2 (roadworks/bridgeworks scope); 13.3.3.4 (bottom of confined excavation); 15.1–15.3 and Tables 15.2–15.3 (compaction methods, layers and compliance testing); 19.1–19.3 including 19.3.4 (backfill adjacent to assets and pipe culverts); 21.1–21.1.2 (subgrade construction and levels); Appendix A (testing frequencies).

Source URL: https://www.tmr.qld.gov.au/-/media/busind/techstdpubs/specifications-and-drawings/specifications/3-roadworks-drainage-culverts-and-geotechnical/mrts04.pdf?extension=pdf&hash=840B4677F54FF4F65E5C80A7EF563206&rev=d832abe7f4fb4ca1bb13425291c3faca&sc_lang=en&size=2763810

Hutchies 010 Groundworks Report (public Word example)

Role: Contractor-specific example for record structure and work stages only; blank fields do not establish universal criteria. No source wording or values are reproduced.

Locator: Public report template. Broad sequence and evidence concepts: set-out, excavation/founding, fill/backfill, compaction/density, beds and final review.

Source URL: https://toolbox.hutchies.com.au/uploads/010-Groundworks-Report.docx